A project report on

LESION-GUIDED MULTI-TASK DEEP LEARNING FOR CLASSIFICATION AND SEGMENTATION OF KIDNEY DISEASES IN ULTRASOUND IMAGES

Submitted in partial fulfillment for the award of the degree of

Bachelor of Technology in <<PROGRAM NAME WITH SPECIALIZATION>>

by

<<NAME OF THE CANDIDATE>>  (<<REG. NO.>>)

<<SECOND MEMBER NAME>>  (<<REG. NO.>>)

<<THIRD MEMBER NAME>>  (<<REG. NO.>>)

[ INSERT VIT LOGO HERE ]

SCHOOL OF COMPUTER SCIENCE AND ENGINEERING

<<MONTH>>, <<YEAR>>

A project report on

LESION-GUIDED MULTI-TASK DEEP LEARNING FOR CLASSIFICATION AND SEGMENTATION OF KIDNEY DISEASES IN ULTRASOUND IMAGES

Submitted in partial fulfillment for the award of the degree of

Bachelor of Technology in <<PROGRAM NAME WITH SPECIALIZATION>>

by

<<NAME OF THE CANDIDATE>>  (<<REG. NO.>>)

<<SECOND MEMBER NAME>>  (<<REG. NO.>>)

<<THIRD MEMBER NAME>>  (<<REG. NO.>>)

[ INSERT VIT LOGO HERE ]

SCHOOL OF COMPUTER SCIENCE AND ENGINEERING

<<MONTH>>, <<YEAR>>

DECLARATION

I hereby declare that the thesis entitled “Lesion-Guided Multi-Task Deep Learning For Classification And Segmentation Of Kidney Diseases In Ultrasound Images” submitted by <<NAME>> (<<REGISTER NUMBER>>), for the award of the degree of Bachelor of Technology in <<PROGRAM NAME WITH SPECIALIZATION>>, Vellore Institute of Technology, Chennai, is a record of bonafide work carried out by me under the supervision of <<GUIDE NAME>>.

I further declare that the work reported in this thesis has not been submitted and will not be submitted, either in part or in full, for the award of any other degree or diploma in this institute or any other institute or university.

Place: Chennai

Date: <<DATE>>

Signature of the Candidate

School of Computer Science and Engineering

CERTIFICATE

This is to certify that the report entitled “Lesion-Guided Multi-Task Deep Learning For Classification And Segmentation Of Kidney Diseases In Ultrasound Images” is prepared and submitted by <<NAME>> (<<REGISTER NUMBER>>) to Vellore Institute of Technology, Chennai, in partial fulfillment of the requirement for the award of the degree of Bachelor of Technology in <<PROGRAM NAME WITH SPECIALIZATION>> is a bonafide record carried out under my guidance. The project fulfills the requirements as per the regulations of this University and in my opinion meets the necessary standards for submission. The contents of this report have not been submitted and will not be submitted either in part or in full, for the award of any other degree or diploma and the same is certified.

Signature of the Guide:

Name: Dr./Prof. <<GUIDE NAME>>

Date: <<DATE>>

| Signature of the Examiner | Signature of the Examiner |
| --- | --- |
| Name: <<EXAMINER 1>> | Name: <<EXAMINER 2>> |
| Date: <<DATE>> | Date: <<DATE>> |

Approved by the Head of Department,

<<PROGRAM NAME WITH SPECIALIZATION>>

Name: <<HoD NAME>>

Date: <<DATE>>

(Seal of the School)

ABSTRACT

Renal ultrasound is the first-line imaging modality for suspected kidney disease because it is inexpensive, portable and free of ionising radiation. Its interpretation, however, is operator dependent, and the images are degraded by speckle noise and poor soft-tissue contrast, so subtle findings are easily missed. Existing computer-aided diagnosis systems for this modality either classify the whole image, giving no spatial evidence for the decision, or employ heavy region-proposal detectors that localise each finding at considerable computational cost.

This project develops a single-encoder multi-task convolutional network that performs five tasks in one forward pass: healthy-versus-pathological diagnosis, whole-organ pathology recognition, nine-way lesion-type recognition, kidney segmentation and lesion segmentation. The system is developed and evaluated on the public URI-CADS benchmark of 1,985 annotated renal ultrasound images.

Three principal findings are reported. First, multi-task training materially improves classification: the diagnosis head reaches 0.8436 AUC when trained alone and 0.8995 within the multi-task model, an improvement obtained at negligible parameter cost because the three classification heads account for under 0.03 per cent of the network. Second, a lesion-guided pooling mechanism is proposed, in which the lesion segmentation branch is reused as a detached spatial attention map so that the lesion-type classifier reads localised rather than globally averaged evidence; this raises multi-pathology AUC from 0.7510 to 0.7781 under matched five-fold cross-validation. Third, an anatomical consistency constraint expressed as absolute probability mass is shown to admit a degenerate minimiser that worsens the very metric it targets, and a corrected ratio formulation is derived which reduces the anatomical violation rate approximately fourfold.

Combined with seed ensembling, the final system attains 0.8969 ± 0.0155 AUC for healthy-versus-pathological classification under five-fold cross-validation, exceeding the 0.8741 published for the same benchmark by a dual-detector architecture built on a larger backbone. Multi-pathology AUC reaches 0.7883 ± 0.0258. A matched-budget comparison of three population-based metaheuristics for loss weighting and image enhancement is additionally reported; the three algorithms are found to be statistically indistinguishable, which is presented as a negative result of practical value.

Keywords: renal ultrasound, computer-aided diagnosis, multi-task learning, attention mechanism, medical image segmentation, deep learning.

ACKNOWLEDGEMENT

It is my pleasure to express with deep sense of gratitude to <<GUIDE NAME>>, <<DESIGNATION>>, School of Computer Science and Engineering, Vellore Institute of Technology, Chennai, for the constant guidance, continual encouragement and understanding extended throughout the course of this project. I am deeply indebted for the valuable technical insight and for the freedom given to pursue the ideas reported here.

It is with gratitude that I would like to extend my thanks to the visionary leader <<CHANCELLOR NAME>>, Chancellor, Vellore Institute of Technology, and to <<VICE PRESIDENT NAME>>, Vice President, and <<VICE CHANCELLOR NAME>>, Vice Chancellor, for providing an excellent academic environment.

Special mention to <<DEAN NAME>>, Dean, <<ASSOCIATE DEAN NAME>>, Associate Dean, and <<HoD NAME>>, Head of Department, School of Computer Science and Engineering, for their encouragement and for the facilities made available for carrying out this work.

My sincere thanks to all the faculty members and staff at Vellore Institute of Technology, Chennai, who extended their support during the course of this project. I also thank my family and friends for their constant encouragement.

Place: Chennai

Date: <<DATE>>

<<NAME OF THE STUDENT>>

CONTENTS

Page numbers below are indicative. Update them once the final layout is fixed, or replace this list with an automatic table of contents (References → Table of Contents in Word).

DECLARATION	ii

CERTIFICATE	iii

ABSTRACT	iv

ACKNOWLEDGEMENT	v

LIST OF FIGURES	vii

LIST OF TABLES	viii

LIST OF ACRONYMS	ix

CHAPTER 1  INTRODUCTION	1

1.1  Introduction	1

1.2  Overview of Renal Ultrasound Imaging	2

1.3  Challenges in Automated Renal Ultrasound Analysis	3

1.4  Problem Statement	4

1.5  Objectives	5

1.6  Scope of the Project	6

1.7  Organisation of the Report	7

CHAPTER 2  BACKGROUND AND LITERATURE SURVEY	8

2.1  Introduction	8

2.2  Deep Learning for Renal Ultrasound Classification	8

2.3  Kidney Segmentation in Ultrasound	10

2.4  Multi-Task Learning in Medical Imaging	11

2.5  Attention and Weakly Supervised Localisation	12

2.6  Metaheuristic Optimisation in Medical Imaging	13

2.7  Research Gaps Identified	14

CHAPTER 3  SYSTEM DESIGN AND METHODOLOGY	16

3.1  Introduction	16

3.2  Dataset Description	16

3.3  Preprocessing and Image Enhancement	18

3.4  Data Augmentation	19

3.5  Proposed Network Architecture	20

3.6  Lesion-Guided Pooling	23

3.7  Loss Functions	25

3.8  Anatomical Consistency Constraint	27

3.9  Metaheuristic Optimisation Framework	29

CHAPTER 4  IMPLEMENTATION	32

4.1  Hardware and Software Environment	32

4.2  Training Configuration	33

4.3  Evaluation Metrics	34

4.4  Experimental Protocol	36

4.5  Software Module Organisation	37

CHAPTER 5  RESULTS AND DISCUSSION	39

5.1  Measurement Noise Floor	39

5.2  Phase-wise Development Results	40

5.3  Benefit of Multi-Task Learning	42

5.4  Effect of Lesion-Guided Pooling	43

5.5  Comparison with the Benchmark System	44

5.6  Anatomical Consistency Constraint	46

5.7  Component Ablation Study	47

5.8  Encoder Comparison	49

5.9  Metaheuristic Optimiser Comparison	50

5.10  Qualitative Results	52

5.11  Discussion	53

CHAPTER 6  CONCLUSION AND FUTURE WORK	56

6.1  Conclusion	56

6.2  Limitations	57

6.3  Future Work	58

REFERENCES	60

APPENDICES	64

LIST OF FIGURES

FIGURE NO.    TITLE	PAGE NO.

3.1    Overall architecture of the proposed multi-task network	<<p>>

3.2    Structure of the ResNet-34 encoder and the BasicBlock residual unit	<<p>>

3.3    The lesion-guided pooling mechanism	<<p>>

5.1    Component ablation: effect of removing each module	<<p>>

5.2    Encoder comparison across diagnosis and lesion-type AUC	<<p>>

5.3    Convergence of the three metaheuristics against evaluation budget	<<p>>

5.4    Qualitative predictions on a held-out test case	<<p>>

5.5    Receiver operating characteristic curve for classification	<<p>>

LIST OF TABLES

TABLE NO.    TITLE	PAGE NO.

3.1    Composition of the URI-CADS dataset and the splits used	<<p>>

3.2    Parameter budget of the proposed network	<<p>>

3.3    Loss terms used in training	<<p>>

3.4    The ten-dimensional optimisation search space	<<p>>

4.1    Hardware and software environment	<<p>>

4.2    Training hyperparameters	<<p>>

4.3    Evaluation metrics and their justification	<<p>>

4.4    Organisation of the implementation	<<p>>

5.1    Test-set results across the development phases	<<p>>

5.2    Single-task versus multi-task training	<<p>>

5.3    Five-fold cross-validated comparison with the benchmark	<<p>>

5.4    Effect of the anatomical consistency formulation	<<p>>

5.5    Component ablation, three seeds per configuration	<<p>>

5.6    Comparison of encoder backbones	<<p>>

5.7    Optimiser comparison at a matched budget of 60 evaluations	<<p>>

LIST OF ACRONYMS

| AMP | Automatic Mixed Precision |
| --- | --- |
| AUC | Area Under the Receiver Operating Characteristic Curve |
| AUPRC | Area Under the Precision-Recall Curve |
| BCE | Binary Cross-Entropy |
| CAD | Computer-Aided Diagnosis |
| CKD | Chronic Kidney Disease |
| CLAHE | Contrast Limited Adaptive Histogram Equalisation |
| CNN | Convolutional Neural Network |
| COA | Coati Optimization Algorithm |
| CV | Cross-Validation |
| GAP | Global Average Pooling |
| GPU | Graphics Processing Unit |
| GWO | Grey Wolf Optimizer |
| ReLU | Rectified Linear Unit |
| RoI | Region of Interest |
| RPN | Region Proposal Network |
| SD | Standard Deviation |
| URI-CADS | Ultrasound Renal Imaging Computer-Aided Diagnosis System |
| WOA | Whale Optimization Algorithm |

CHAPTER 1

INTRODUCTION

1.1  INTRODUCTION

Kidney disease is a substantial and growing global health burden, and it frequently progresses silently until renal function is already severely impaired. Early detection therefore has a disproportionate effect on outcome, which places considerable value on screening methods that are cheap enough and portable enough to be applied widely.

Ultrasound is the first-line imaging modality for suspected renal disease. It is inexpensive, requires no ionising radiation, can be performed at the bedside, and provides real-time visualisation of renal structure. These properties make it the natural candidate for primary care screening. The difficulty is interpretation: reading a renal ultrasound reliably requires experience that is not uniformly available at the point of first contact, and the images themselves are among the hardest in diagnostic imaging to interpret.

This project develops an automated system that reads a single B-mode renal ultrasound image and produces, in one pass, a diagnosis, a set of pathology labels, an outline of the kidney and an outline of any lesion within it. The emphasis throughout is on classification accuracy, since that is the output on which a screening decision rests.

1.2  OVERVIEW OF RENAL ULTRASOUND IMAGING

B-mode ultrasound forms an image by transmitting high-frequency sound pulses into tissue and measuring the amplitude of the returning echoes. Tissue interfaces of differing acoustic impedance reflect more strongly and therefore appear brighter. In renal imaging this produces a characteristic appearance in which the renal cortex, the medullary pyramids and the central echogenic sinus can be distinguished when image quality permits.

Several clinically important findings are expressed through this appearance. Simple and complicated cysts appear as anechoic or partly echogenic rounded regions. Hydronephrosis appears as dilatation of the collecting system. Loss of corticomedullary differentiation and increased cortical echogenicity are diffuse changes affecting the whole organ rather than a discrete location, and are associated with chronic parenchymal disease. The distinction between findings that are localised and findings that are diffuse is important for this project, because the two require different machine-learning treatments.

1.3  CHALLENGES IN AUTOMATED RENAL ULTRASOUND ANALYSIS

Automating this reading is difficult for reasons specific to the modality:

Speckle noise. Coherent interference produces a granular texture that obscures boundaries and varies between acquisitions of the same anatomy.

Low soft-tissue contrast. The acoustic impedance difference between renal cortex and surrounding tissue is small, so the organ boundary is often ambiguous even to an expert.

Operator dependence. Probe angle, depth setting, gain and focus all alter the appearance of the same kidney, introducing variation unrelated to pathology.

Diagnostic echogenicity. Because two of the pathologies of interest are themselves defined by tissue brightness, routine intensity-based data augmentation risks destroying the signal the classifier must read.

Class imbalance. Pathological cases dominate the available annotated data, so a model can score highly on raw accuracy while being of no clinical use.

Coarse lesion annotation. Lesions are commonly annotated as bounding boxes rather than traced outlines, which limits what a segmentation model can be supervised against and penalises accurate non-rectangular predictions.

1.4  PROBLEM STATEMENT

Published computer-aided diagnosis systems for renal ultrasound fall broadly into two families, and each carries a structural disadvantage. Image-level classifiers are compact and fast but return no spatial evidence, which limits clinical trust and makes errors difficult to audit. Detection-based systems localise each finding explicitly and generally classify better, because a classifier reading a localised region is not forced to infer a small finding from a whole-image summary; the cost is a region proposal network, region-of-interest pooling and separate mask heads, which together are substantially heavier than a classification backbone.

The problem addressed by this project is therefore stated as follows: to obtain the localisation advantage of the detection family, and the classification accuracy that follows from it, without adopting a detector architecture, so that the resulting system remains light enough for the portable hardware that makes ultrasound attractive in the first place.

1.5  OBJECTIVES

To design a single-encoder multi-task convolutional network that jointly performs healthy-versus-pathological diagnosis, multi-label pathology recognition, kidney segmentation and lesion segmentation.

To quantify, under matched experimental conditions, how much the classification task benefits from being trained alongside segmentation.

To design and evaluate a mechanism that supplies localised evidence to the pathology classifier by reusing the segmentation branch, without introducing region proposals or additional supervision.

To formulate an anatomical consistency constraint that penalises predicted lesion probability lying outside the kidney, and to verify empirically that it reduces the quantity it targets.

To apply population-based metaheuristic optimisation to the multi-task loss weighting and image-enhancement parameters, and to compare optimisers under an equal evaluation budget.

To establish a measurement protocol appropriate to the size of the dataset, so that reported improvements can be distinguished from random variation.

To benchmark the final system against the published results for the same dataset under the same cross-validation protocol.

1.6  SCOPE OF THE PROJECT

The work is confined to single-frame, two-dimensional B-mode renal ultrasound images drawn from one public benchmark dataset. Doppler, contrast-enhanced and three-dimensional ultrasound are outside scope, as are video sequences and any fusion with clinical or laboratory data.

The system is developed as a research prototype. It is validated retrospectively on held-out data from a single cohort. No external cohort validation, prospective evaluation or reader study has been performed, and no claim of clinical readiness is made. Inference latency on target hardware has not been measured, so efficiency claims rest on parameter count and architectural simplicity rather than on measured throughput.

1.7  ORGANISATION OF THE REPORT

The remainder of this report is organised as follows. Chapter 2 reviews prior work on deep learning for renal ultrasound, on kidney segmentation, on multi-task learning and attention mechanisms, and on metaheuristic optimisation in medical imaging, and identifies the gaps this project addresses. Chapter 3 presents the dataset, the preprocessing pipeline and the proposed architecture, including the lesion-guided pooling mechanism and the loss formulation. Chapter 4 describes the implementation, the training configuration and the evaluation protocol. Chapter 5 reports and discusses the experimental results. Chapter 6 concludes and identifies future work.

CHAPTER 2

BACKGROUND AND LITERATURE SURVEY

2.1  INTRODUCTION

This chapter surveys the work on which this project builds. It covers four areas: classification of renal ultrasound images, segmentation of renal structures, multi-task learning and attention mechanisms in medical imaging, and the application of metaheuristic search to medical imaging pipelines. The chapter closes by stating the gaps that motivate the design presented in Chapter 3.

2.2  DEEP LEARNING FOR RENAL ULTRASOUND CLASSIFICATION

Kuo et al. (2019) demonstrated that renal function can be estimated directly from B-mode ultrasound. Using 4,505 kidney ultrasound images labelled with estimated glomerular filtration rate derived from serum creatinine, they fine-tuned an ImageNet-pretrained ResNet to predict kidney function and chronic kidney disease status. The study is relevant here for two reasons: it establishes transfer learning from ImageNet as an effective strategy in this modality despite the domain gap, and it provides a reference point for the quantity of data required.

Subsequent work has applied convolutional classifiers to other image-level decisions in the same modality. Seraj et al. (2025) addressed the upstream problem of frame selection, training a classifier to identify the most diagnostically informative frame within an acquisition and thereby reduce the subjectivity introduced when an operator chooses a frame manually. Zhang et al. (2025) survey the field more broadly and identify interobserver variability as the limitation that most strongly motivates automation in renal ultrasound.

The common limitation of this family is that a whole-image classifier returns a label without indicating which part of the image produced it. For a screening tool intended to support a non-specialist reader, that absence of spatial evidence is a material weakness.

2.3  KIDNEY SEGMENTATION IN ULTRASOUND

A parallel line of work treats the spatial problem directly. Shtaiyat and Younes (2024) review deep learning approaches to delineating the kidney outline in two-dimensional ultrasound, and Anuar et al. (2026) propose a hybrid U-Net framework for kidney segmentation together with an evaluation methodology designed to be robust to small positional errors, which is a recurring difficulty when assessing segmentation in a noisy modality.

Zuo et al. (2025) extend this to multiple renal structures, introducing a segmentation network with two distinct attention modules to handle speckle noise and ambiguous boundaries. Their work is the closest prior use of attention within renal ultrasound, although the attention there serves to refine the segmentation output itself rather than to inform a diagnostic classifier.

Segmentation systems of this kind produce localisation but not diagnosis. The two capabilities are generally developed separately, which leaves unexploited the possibility that each might improve the other.

2.4  MULTI-TASK LEARNING IN MEDICAL IMAGING

Multi-task learning rests on the argument advanced by Caruana (1997) that training related tasks against a shared representation acts as an inductive bias: each task constrains the shared encoder, discouraging it from fitting features useful to only one objective. In medical imaging the argument is attractive because annotation is expensive, so extracting additional supervisory signal from annotations that already exist is valuable.

Al-Salman and Cevik (2026) apply this directly to renal imaging with a dual-headed U-Net that performs structural segmentation jointly with estimated glomerular filtration rate prediction, coupling the two through an explicit structure-function consistency loss. Their work is the nearest precedent for the consistency constraint developed in Section 3.8 of this report, with the distinction that their coupling links two predictive heads whereas the constraint proposed here constrains a single head against an anatomical prior.

2.5  ATTENTION AND WEAKLY SUPERVISED LOCALISATION

The standard route from a classifier to a spatial explanation is attribution. Zhou et al. (2016) showed with class activation mapping that a globally pooled convolutional classifier implicitly encodes localisation, and Selvaraju et al. (2017) generalised this to arbitrary architectures with Grad-CAM. Both methods derive a map from an already trained classifier, so the map reflects whatever features the classifier happened to rely on, which may or may not correspond to the clinically relevant structure.

A second route is to learn attention as part of the network. Hu et al. (2018) recalibrate channel responses through squeeze-and-excitation, and the renal segmentation network of Zuo et al. (2025) noted above applies spatial attention within the segmentation path. In both cases the attention is learned from the objective it serves.

Neither route exploits a situation that arises naturally in a segmentation-capable multi-task network: a dense spatial map that has already been supervised against expert annotation and is therefore known to indicate the structure of interest. Using such a map to guide a classifier is the mechanism proposed in this project.

2.6  METAHEURISTIC OPTIMISATION IN MEDICAL IMAGING

Population-based metaheuristics are gradient-free search algorithms inspired by natural processes. The Grey Wolf Optimizer (Mirjalili et al., 2014), the Whale Optimization Algorithm (Mirjalili & Lewis, 2016) and the more recent Coati Optimization Algorithm (Dehghani et al., 2023) are representative. They require no gradient and no smoothness assumption, which makes them applicable to hyperparameters that cannot be optimised by backpropagation, such as loss weights and preprocessing parameters.

Within medical imaging, Kausar and Ramamurthy (2025) apply a binary Coati algorithm to feature selection for kidney ultrasound classification, and Ates et al. (2025) report a hybrid optimisation-assisted pipeline for classification of dental panoramic radiographs. The former is the closest prior work to the optimisation component of this project, sharing both the algorithm family and the imaging modality; it differs in target, optimising feature selection for a fixed classifier rather than the loss weighting of a multi-task network.

A recurring methodological weakness in this literature is the absence of controls. Reported gains are frequently attributed to a particular metaheuristic without a matched-budget comparison against an alternative algorithm, or against the random search baseline established by Bergstra and Bengio (2012). This project addresses that gap explicitly.

2.7  RESEARCH GAPS IDENTIFIED

The survey above identifies four gaps that this project addresses:

Classification and segmentation of renal ultrasound are usually developed separately, so the benefit each confers on the other is rarely quantified under matched conditions.

The localisation advantage of detection architectures has not been pursued within a lightweight multi-task network, where a supervised spatial map is already available and unused by the classifier.

Auxiliary constraints in medical imaging are commonly proposed without verifying that the quantity they target actually improves, which permits a surrogate loss with a degenerate minimiser to go undetected.

Metaheuristic optimisation results in medical imaging are seldom reported with a matched-budget comparison between optimisers or against random search, so the contribution of the specific algorithm cannot be isolated.

CHAPTER 3

SYSTEM DESIGN AND METHODOLOGY

3.1  INTRODUCTION

This chapter describes the dataset, the preprocessing pipeline and the proposed network. The design is driven by a single observation: a multi-task network that already segments the lesion computes, as an ordinary part of its forward pass, a dense map indicating where the abnormality lies. That map is normally consumed only by the segmentation loss. The architecture presented here reuses it to give the pathology classifier localised evidence.

3.2  DATASET DESCRIPTION

All experiments use the URI-CADS benchmark, a public collection of 1,985 B-mode renal ultrasound images released with the reference system of Molina-Moreno et al. (2024). Each image carries four kinds of annotation: a hand-traced binary kidney mask, a binary healthy-versus-pathological diagnosis, two whole-organ pathology labels, and zero or more lesion bounding boxes each tagged with one of nine lesion-type identifiers.

| Split | Images | Pathological | Healthy | Share pathological |
| --- | --- | --- | --- | --- |
| Train | 1,389 | 1,074 | 315 | 77.3% |
| Validation | 298 | 231 | 67 | 77.5% |
| Test | 298 | 230 | 68 | 77.2% |
| Total | 1,985 | 1,535 | 450 | 77.3% |

Table 3.1  Composition of the URI-CADS dataset and the splits used

Two properties of the dataset shape the design. First, it is markedly imbalanced: 1,535 of 1,985 images are pathological, so a model that always answers "pathological" already achieves 77.3 per cent accuracy. Raw accuracy is therefore not a meaningful headline metric, and balanced accuracy is reported instead. Second, 1,323 of the 1,985 images contain at least one annotated lesion box; the held-out test split contains 203 such images.

The lesion annotation deserves particular attention. The dataset supplies bounding boxes rather than traced lesion contours. These are converted into filled rectangular masks and unioned where an image carries several. The lesion decoder is therefore supervised against a blocky approximation of the true lesion, and is penalised for predicting an accurately shaped non-rectangular region. Reported lesion Dice is consequently a lower bound on true localisation quality.

3.3  PREPROCESSING AND IMAGE ENHANCEMENT

Images are resized to 512 x 512 pixels and normalised to approximately the range [-1, 1]. Kidney masks are resized with nearest-neighbour interpolation to preserve their binary character. Lesion boxes are scaled to the target resolution and rasterised.

An optional enhancement pipeline addresses the two dominant image quality problems. Contrast limited adaptive histogram equalisation (Zuiderveld, 1994) is applied to the luminance channel in LAB colour space to improve local contrast without amplifying noise globally; non-local means denoising (Buades et al., 2005) suppresses speckle; and a gamma correction adjusts the overall brightness curve. The four parameters governing this pipeline are fixed in the baseline configuration and are among the variables optimised in Section 3.9.

3.4  DATA AUGMENTATION

Augmentation is restricted to geometric transformations: horizontal flip with probability 0.5, rotation of up to 10 degrees, scale jitter of 10 per cent and translation of 5 per cent of the image extent. Each is applied identically to the image and to both masks so that the correspondence between them is preserved.

Two exclusions are deliberate and are defended here because they run against common practice. Vertical flipping is not used, because depth increases downward in an ultrasound sweep and a vertically flipped image is anatomically impossible. Intensity augmentation, meaning brightness, contrast and gamma jitter, is also excluded, because echogenicity is itself diagnostic in renal ultrasound: two of the dataset pathology labels concern tissue brightness, so perturbing intensity degrades the very feature the classifier must read. These images are additionally dark, with a mean intensity near 25 of 255, so a nominally modest 15 per cent brightness shift exceeds the image mean. This was verified rather than assumed: an aggressive intensity augmentation profile reduced diagnosis AUC from 0.9014 to 0.8363.

3.5  PROPOSED NETWORK ARCHITECTURE

The network consists of one shared encoder feeding five task-specific heads. A ResNet-34 backbone (He et al., 2016) pretrained on ImageNet, with its classifier and global pooling removed, maps the 512 x 512 x 3 input to a feature map of 512 channels at 16 x 16 resolution, a cumulative downsampling factor of 32.

[ INSERT FIGURE 3.1 HERE — overall architecture diagram: input, shared ResNet-34 encoder, global average pooling to three linear heads, and the full feature map to two decoders ]

Figure 3.1  Overall architecture of the proposed multi-task network

That single feature map is consumed in two different ways. Global average pooling reduces it to a 512-dimensional vector that feeds three linear classification heads: one logit for the binary diagnosis, two for whole-organ pathologies and nine for lesion types. Separately, the full spatial feature map, without pooling, feeds two independent decoders that upsample it back to input resolution to produce the kidney and lesion masks. Each decoder comprises five blocks of 3 x 3 convolution, batch normalisation (Ioffe & Szegedy, 2015), ReLU activation and bilinear upsampling by a factor of two, halving the channel count at each stage, followed by a 1 x 1 convolution to a single output channel.

[ INSERT FIGURE 3.2 HERE — encoder diagram: stem, four residual stages with tensor shapes and parameter counts, and the BasicBlock detail showing identity and projection shortcuts ]

Figure 3.2  Structure of the ResNet-34 encoder and the BasicBlock residual unit

| Component | Parameters | Share |
| --- | --- | --- |
| ResNet-34 encoder (shared) | 21,284,672 | 87.1% |
| Kidney decoder | 1,572,833 | 6.4% |
| Lesion decoder | 1,572,833 | 6.4% |
| Three classification heads | 6,156 | 0.03% |
| Total | 24,436,494 | 100% |

Table 3.2  Parameter budget of the proposed network

The parameter budget shown in Table 3.2 is the basis of the efficiency argument for this design. The three classification heads together account for 6,156 parameters out of 24.4 million, under 0.03 per cent of the network. Once the encoder and decoders exist for segmentation, the classification outputs are therefore effectively free, whereas five separate single-task models would cost approximately five times the memory.

Capacity within the encoder is heavily concentrated at the coarsest scales: the final two residual stages hold 19.94 million of the encoder’s 21.28 million parameters. This is directly relevant to the mechanism described next, because it means the representation available to the classifier is dominated by features computed at 32 x 32 and 16 x 16 resolution, where a small lesion occupies very few spatial positions.

3.6  LESION-GUIDED POOLING

Global average pooling summarises the entire feature map in one vector. For a binary healthy-versus-pathological decision this is adequate, because diffuse changes affect the whole organ. For multi-label lesion type recognition it is a structural disadvantage: a focal lesion occupying a small fraction of the field is averaged together with a large volume of normal tissue before the classifier ever sees it. This is the most plausible explanation for the one metric on which the baseline model clearly trailed the reference system, which localises each finding explicitly before classifying it.

Lesion-guided pooling addresses this without introducing a detector. Let F denote the encoder feature map and L the lesion decoder output logits. The mechanism proceeds in five steps:

Apply the logistic function to L to obtain a predicted lesion probability map.

Detach that map from the computation graph, so no gradient flows back through it.

Resample the map to the spatial resolution of the encoder feature grid and normalise it to sum to one, producing an attention map A.

Form a lesion-focused descriptor by multiplying the encoder features by A and summing over space.

Concatenate that descriptor with the conventional globally averaged descriptor and pass the pair to the lesion-type classification head, which is consequently twice as wide.

[ INSERT FIGURE 3.3 HERE — pooling diagram: lesion decoder output, sigmoid, stop-gradient, resample and normalise, weighted sum, concatenation with the global vector ]

Figure 3.3  The lesion-guided pooling mechanism

The detachment in step two is the critical design decision. Were gradients permitted to flow from the lesion-type classification loss back into the lesion decoder, that loss could reshape the decoder to make classification easier, producing convenient pseudo-lesions that improve the classifier while degrading the segmentation output a clinician actually sees. In a diagnostic setting where the segmentation is itself part of the deliverable, that coupling is unacceptable. Detaching makes the attention read-only: the lesion decoder remains supervised solely by its own Dice term, and lesion-guided pooling can only exploit localisation the decoder has already learned for its own purposes. The mechanism adds 4,608 parameters, a widening of one linear layer, and requires no additional supervision.

3.7  LOSS FUNCTIONS

The total objective is a weighted sum of six terms covering the five heads plus the anatomical constraint. In the baseline configuration every weight is set to one; Section 3.9 replaces these with an optimised vector.

| Term | Applies to | Function |
| --- | --- | --- |
| Diagnosis | Binary head | Binary cross-entropy with logits |
| Global pathology | Two-way multi-label head | Binary cross-entropy with logits |
| Local pathology | Nine-way multi-label head | Binary cross-entropy with logits |
| Kidney segmentation | Kidney decoder | Soft Dice loss |
| Lesion segmentation | Lesion decoder | Soft Dice loss |
| Anatomical consistency | Lesion decoder and kidney mask | Ratio of lesion mass outside the kidney |

Table 3.3  Loss terms used in training

The three classification terms use binary cross-entropy applied independently per label. The pathology heads are multi-label rather than multi-class, since a kidney may exhibit several pathologies simultaneously and a softmax would impose a spurious competition between them. Weighted cross-entropy and focal loss (Lin et al., 2017) were additionally implemented and evaluated as training-time corrections for the class imbalance described in Section 3.2.

The two segmentation terms use the soft Dice loss (Milletari et al., 2016), computed on sigmoid probabilities rather than thresholded masks so that it remains differentiable. Dice is preferred to pixel-wise cross-entropy because the foreground occupies a small fraction of the image; a cross-entropy objective dominated by easy background can be driven low by a model that predicts almost nothing, whereas Dice measures overlap directly and an empty prediction on a lesion-bearing image scores zero.

3.8  ANATOMICAL CONSISTENCY CONSTRAINT

A lesion within a kidney cannot lie outside the kidney. This anatomical fact can be encoded as an auxiliary loss penalising predicted lesion probability falling outside the annotated kidney region. The quantity reported is the violation rate, defined as the fraction of predicted lesion probability mass lying outside the true kidney.

The constraint was initially formulated as the absolute outside mass, that is, the mean over pixels of the predicted lesion probability multiplied by the complement of the kidney mask. Measured against an unconstrained baseline, this formulation made the violation rate worse rather than better. The cause is that the loss and the reported metric are not the same objective: the absolute form is minimised by suppressing lesion probability everywhere, which shrinks the numerator and the denominator of the reported ratio together and leaves the ratio unchanged while reducing the loss. The optimiser found this degenerate solution.

The corrected formulation optimises the ratio directly. Because a global rescaling of lesion probability leaves a ratio invariant, the degenerate minimiser disappears, and the only remaining way to reduce the loss is to move probability mass inside the kidney. Section 5.6 reports the measured effect of both formulations.

3.9  METAHEURISTIC OPTIMISATION FRAMEWORK

The six loss weights and the four enhancement parameters are free hyperparameters that the phases above set by convention. A ten-dimensional search space is defined over them, with the loss weights bounded in the interval 0.1 to 5.0 and the enhancement parameters bounded by their physically meaningful ranges.

| Parameter | Range | Controls |
| --- | --- | --- |
| Six loss weights | 0.1 to 5.0 | Relative importance of each term |
| CLAHE clip limit | 1.0 to 5.0 | Strength of local contrast enhancement |
| CLAHE tile grid | 4 to 16 | Locality of contrast equalisation |
| Denoising strength | 0 to 20 | Speckle suppression |
| Gamma | 0.5 to 2.0 | Brightness curve |

Table 3.4  The ten-dimensional optimisation search space

The search maximises a scalar fitness computed on the validation split, formed as a weighted sum of 0.30 times diagnosis AUC, 0.15 times lesion-type AUC, 0.25 times kidney Dice, 0.25 times lesion-bearing Dice and 0.05 times one minus the violation rate. All five components lie in the interval zero to one and are higher-is-better, so no rescaling is required.

One detail of this fitness function is essential rather than cosmetic. The lesion term uses Dice computed over lesion-bearing images only, not the dataset-wide mean. Approximately one third of images contain no lesion, and on those a correct all-zero prediction scores close to one; a model with no lesion head at all achieves a dataset-wide mean lesion Dice of 0.3188. Optimising the dataset-wide mean would therefore have rewarded a degenerate model that predicts no lesions anywhere, collecting roughly 0.32 for free.

Three optimisers are compared: the Coati Optimization Algorithm, the Whale Optimization Algorithm and the Grey Wolf Optimizer. Each is given an identical budget of 60 fitness evaluations, where one evaluation means training a model from scratch. Equal budget rather than equal iteration count is the fair basis for comparison, since the algorithms use different population sizes. Because each evaluation trains a model, the search runs at reduced fidelity, with smaller input resolution, fewer epochs and a cheaper denoiser, and only the best configuration per optimiser is retrained at full fidelity.

CHAPTER 4

IMPLEMENTATION

4.1  HARDWARE AND SOFTWARE ENVIRONMENT

All models were implemented in PyTorch (Paszke et al., 2019) using torchvision backbones pretrained on ImageNet (Russakovsky et al., 2015). Training and evaluation were performed on a single NVIDIA RTX 3050 laptop GPU with 4 GB of video memory. The modest hardware is worth stating explicitly, because it constrained several design decisions: automatic mixed precision (Micikevicius et al., 2018) was required to fit 512 x 512 training within the available memory, and the batch size was limited to four.

| Item | Specification |
| --- | --- |
| GPU | NVIDIA RTX 3050 Laptop, 4 GB VRAM |
| Framework | PyTorch with torchvision |
| Precision | Automatic mixed precision (float16 with gradient scaling) |
| Operating system | <<OPERATING SYSTEM AND VERSION>> |
| Python version | <<PYTHON VERSION>> |
| CUDA version | <<CUDA VERSION>> |

Table 4.1  Hardware and software environment

4.2  TRAINING CONFIGURATION

Unless otherwise stated, models were trained at 512 x 512 resolution for 15 epochs using the Adam optimiser (Kingma & Ba, 2015) with a learning rate of 0.0001 and a batch size of four. After each epoch the model was scored on the validation split and the best checkpoint retained, rather than simply taking the final epoch.

| Hyperparameter | Value |
| --- | --- |
| Input resolution | 512 x 512 |
| Epochs | 15 |
| Optimiser | Adam |
| Learning rate | 0.0001 |
| Batch size | 4 |
| Random seed (primary) | 42 |
| Mixed precision | Enabled |
| Checkpoint selection | Best validation combined Dice |
| Augmentation | Geometric only (flip, rotate, scale, translate) |

Table 4.2  Training hyperparameters

4.3  EVALUATION METRICS

The choice of metric matters more than usual on this dataset, because the class imbalance makes the obvious choices misleading. The metrics used, and the reason for each, are set out in Table 4.3.

| Metric | Justification |
| --- | --- |
| AUC | Threshold-free, so it measures ranking quality independently of where the decision boundary is placed. It is also the metric the reference system reports, which makes comparison possible. |
| Balanced accuracy | The mean of sensitivity and specificity. Plain accuracy is misleading at 77 per cent prevalence; balanced accuracy is not. |
| Sensitivity and specificity | What a clinical reader requires, since missed disease and false alarms carry different costs. |
| Dice coefficient | Overlap between predicted and true region, ranging from zero to one. |
| Lesion Dice (lesion-bearing only) | The dataset-wide lesion Dice is uninformative because a model with no lesion head scores 0.3188 through correct empty predictions. Restricting to the 203 lesion-bearing test images separates a working model from a null one. |
| Violation rate | Fraction of predicted lesion mass lying outside the true kidney; the anatomical plausibility check. |

Table 4.3  Evaluation metrics and their justification

4.4  EXPERIMENTAL PROTOCOL

The decision threshold is selected on the validation split to maximise balanced accuracy and then applied unchanged to the test split. It is never tuned on test data. Comparisons that support a claim in this report are conducted under five-fold cross-validation, matching the protocol used by the reference system, so that fold difficulty is averaged out rather than confounded with the comparison.

Before any comparison was interpreted, the magnitude of random variation was measured by retraining one configuration with five different random seeds. This noise floor, reported in Section 5.1, governs the interpretation of every result that follows.

4.5  SOFTWARE MODULE ORGANISATION

The implementation is organised into reusable modules so that every experiment runs through the same data loading, training and evaluation code, which removes a common source of inconsistency between reported phases.

| Module | Responsibility |
| --- | --- |
| config | Paths, image size, class counts and the global random seed |
| data | Manifest loading, dataset class, enhancement and augmentation |
| model | Network definitions and the configurable encoder factory |
| losses | The six loss terms and the diagnosis loss variants |
| metrics | Per-sample Dice, violation rate and classification metrics |
| engine | Training and evaluation loops shared by every experiment |
| phase6 | Search space, fitness function and the resumable optimiser driver |
| reporting | Figure generation and result serialisation |

Table 4.4  Organisation of the implementation

CHAPTER 5

RESULTS AND DISCUSSION

5.1  MEASUREMENT NOISE FLOOR

Before reporting any comparison, the magnitude of variation attributable to training stochasticity alone was quantified. Retraining an identical configuration with different random seeds moves diagnosis AUC by a standard deviation of 0.0258, with an observed range of 0.074 across five seeds.

On a dataset of this size, therefore, a single-split AUC difference below roughly 0.03 carries no information. This figure governs the interpretation of every result in this chapter, and it is reported first because several differences measured during this project fall below it and are consequently reported as null rather than as findings.

5.2  PHASE-WISE DEVELOPMENT RESULTS

| Phase | Diagnosis AUC | Lesion-type AUC | Kidney Dice | Lesion Dice | Violation |
| --- | --- | --- | --- | --- | --- |
| Phase 2: three-head baseline | 0.9013 | no head | 0.8991 | no head | no head |
| Phase 3: fixed enhancement | 0.8903 | no head | 0.9021 | no head | no head |
| Phase 4: full five-head multi-task | 0.8995 | 0.7704 | 0.8928 | 0.5056 | 0.2331 |
| Phase 5: consistency (absolute form) | 0.8791 | 0.7752 | 0.8838 | 0.4868 | 0.2817 |
| Phase 5b: consistency (ratio form) | 0.9014 | 0.7416 | 0.8954 | 0.4881 | 0.0543 |
| Phase 6: optimised weights and enhancement | 0.8753 | 0.7314 | 0.9081 | 0.4180 | 0.0545 |

Table 5.1  Test-set results across the development phases

Phases 2 and 3 use the three-head architecture, which has no lesion-type head and no lesion decoder, so those columns are marked accordingly rather than scored. Table 5.1 should be read with the noise floor of Section 5.1 in mind: these are single-split results, and most of the movement in the diagnosis column is therefore not interpretable. The columns that do move meaningfully are kidney Dice and the violation rate.

5.3  BENEFIT OF MULTI-TASK LEARNING

| Configuration | Diagnosis AUC | Lesion-type AUC | Kidney Dice | Lesion Dice |
| --- | --- | --- | --- | --- |
| Diagnosis only | 0.8436 | 0.4040 | 0.1270 | 0.0237 |
| Kidney segmentation only | 0.5711 | 0.4542 | 0.9162 | 0.0197 |
| Lesion segmentation only | 0.4573 | 0.4748 | 0.0967 | 0.4960 |
| Multi-task (all five heads) | 0.8995 | 0.7704 | 0.8928 | 0.5056 |

Table 5.2  Single-task versus multi-task training

The diagnosis head trained in isolation reaches 0.8436 AUC. The same head inside the multi-task model reaches 0.8995, an improvement of 0.0559 which is more than twice the noise floor and therefore a real effect. The segmentation tasks act as a regulariser on the shared encoder, forcing it to retain spatial structure that a classification-only objective would discard.

The benefit is not symmetric, and this should be stated plainly rather than concealed. Kidney segmentation trained alone reaches 0.9162 Dice against 0.8928 in the joint model, so segmentation pays a modest price for sharing capacity with the classification objectives. The trade is favourable overall, but it is a trade rather than a uniform gain.

5.4  EFFECT OF LESION-GUIDED POOLING

Under matched five-fold cross-validation, adding lesion-guided pooling raises lesion-type AUC from 0.7510 ± 0.0240 to 0.7781 ± 0.0131, an improvement of 0.0271.

An independent ablation at reduced fidelity with three random seeds found lesion-type AUC falling from 0.8105 ± 0.0037 to 0.7677 ± 0.0211 when the component was removed, a decrease of -0.0428, with every seed agreeing in direction. Two protocols differing in resolution, epoch count, split strategy and random seed therefore agree on both the sign and the approximate magnitude of the effect, which is the strongest evidence obtained for any component in this project.

5.5  COMPARISON WITH THE BENCHMARK SYSTEM

| System | Diagnosis AUC | Balanced acc. | Lesion-type AUC | Kidney Dice |
| --- | --- | --- | --- | --- |
| Baseline multi-task | 0.8619 ± 0.0190 | 0.7204 ± 0.0283 | 0.7510 ± 0.0240 | 0.8948 ± 0.0053 |
| With lesion-guided pooling | 0.8574 ± 0.0202 | 0.7087 ± 0.0558 | 0.7781 ± 0.0131 | 0.8919 ± 0.0040 |
| With seed ensemble (final system) | 0.8969 ± 0.0155 | 0.7246 ± 0.0448 | 0.7883 ± 0.0258 | 0.8893 ± 0.0068 |
| Reference system (published) | 0.8741 | — | 0.8190 | — |

Table 5.3  Five-fold cross-validated comparison with the benchmark

The final system attains 0.8969 ± 0.0155 AUC for healthy-versus-pathological classification, exceeding the 0.8741 published for the same dataset by 0.0228, while using a ResNet-34 encoder against the reference’s ResNet-50 and a single forward pass against a dual-detector pipeline. Lesion-type AUC reaches 0.7883 ± 0.0258 against the published 0.8190.

Two caveats attach to this comparison and are stated here rather than left for a reader to find. First, the binary gain comes principally from seed ensembling rather than from lesion-guided pooling, which is specific to the multi-label task. Second, the lesion-type figures are not measured on an identical label space: this system predicts the nine raw annotation identifiers, three of which have fewer than 40 positive images in the entire dataset, whereas the reference groups them into four consolidated classes before training. Averaging per-class AUC over very sparse classes depresses the mean, so the apparent deficit should be interpreted with caution.

5.6  ANATOMICAL CONSISTENCY CONSTRAINT

| Configuration | Violation rate | Diagnosis AUC | Kidney Dice | Lesion Dice |
| --- | --- | --- | --- | --- |
| No constraint (Phase 4) | 0.2331 | 0.8995 | 0.8928 | 0.5056 |
| Absolute-mass form (Phase 5) | 0.2817 | 0.8791 | 0.8838 | 0.4868 |
| Ratio form (Phase 5b) | 0.0543 | 0.9014 | 0.8954 | 0.4881 |

Table 5.4  Effect of the anatomical consistency formulation

The absolute-mass formulation made the violation rate worse than using no constraint at all, rising from 0.2331 to 0.2817. The corrected ratio formulation reduces it to 0.0543, roughly a fourfold improvement over the unconstrained baseline. Differences in the diagnosis column fall within the noise floor and are not interpreted.

This result is reported because the failure mode is general rather than specific to this project. Any auxiliary constraint written as a surrogate for a reported ratio metric is vulnerable to the same degeneracy, and the symptom, a constraint that worsens the quantity it targets, is visible only if that quantity is measured both with and without the constraint.

5.7  COMPONENT ABLATION STUDY

| Configuration | Diagnosis AUC | Lesion-type AUC | Kidney Dice |
| --- | --- | --- | --- |
| Full model (reference) | 0.8607 ± 0.0399 | 0.8105 ± 0.0037 | 0.8116 ± 0.0384 |
| Without lesion-guided pooling | 0.8813 ± 0.0080 | 0.7677 ± 0.0211 | 0.7621 ± 0.0395 |
| Without anatomical consistency | 0.8825 ± 0.0143 | 0.7903 ± 0.0311 | 0.8048 ± 0.0096 |
| Without lesion segmentation | 0.8728 ± 0.0270 | 0.7823 ± 0.0206 | 0.7546 ± 0.0485 |
| Without kidney segmentation | 0.8848 ± 0.0129 | 0.7997 ± 0.0202 | 0.0000 ± 0.0000 |
| Classification heads only | 0.8649 ± 0.0051 | 0.7906 ± 0.0110 | 0.0000 ± 0.0000 |

Table 5.5  Component ablation, three seeds per configuration

Figure 5.1  Component ablation: effect of removing each module

No removal moved diagnosis AUC beyond the noise band. The only component with a demonstrable effect is lesion-guided pooling, and only on the multi-label task. With three seeds this study detects large effects only; a null result indicates that an effect was not demonstrated, not that it is absent.

5.8  ENCODER COMPARISON

| Encoder | Parameters | Diagnosis AUC | Lesion-type AUC |
| --- | --- | --- | --- |
| ResNet-34 (baseline) | 24.44 M | 0.8607 ± 0.0399 | 0.8105 ± 0.0037 |
| EfficientNet-B0 | 10.72 M | 0.8569 ± 0.0136 | 0.7576 ± 0.0366 |
| MobileNetV3-Large | 8.20 M | 0.8248 ± 0.0232 | 0.7211 ± 0.0170 |
| ShuffleNetV2 | 6.78 M | 0.8321 ± 0.0049 | 0.7169 ± 0.0181 |

Table 5.6  Comparison of encoder backbones

Figure 5.2  Encoder comparison across diagnosis and lesion-type AUC

EfficientNet-B0 matches ResNet-34 on binary diagnosis within the noise band while using 2.3 times fewer parameters. All three lightweight backbones, however, lose lesion-type AUC. The practical reading is that a smaller backbone is defensible if binary triage is the deployment target, but not if multi-label pathology recognition is required.

5.9  METAHEURISTIC OPTIMISER COMPARISON

| Optimiser | Best validation fitness | Evaluations | Wall clock |
| --- | --- | --- | --- |
| COA | 0.6080 | 60 | 1.97 h |
| WOA | 0.5983 | 60 | 1.73 h |
| GWO | 0.6006 | 60 | 1.94 h |

Table 5.7  Optimiser comparison at a matched budget of 60 evaluations

Figure 5.3  Convergence of the three metaheuristics against evaluation budget

The three optimisers finished within 0.0097 fitness of one another, far below this pipeline’s run-to-run variation. No meaningful difference between them is therefore claimed. More importantly, the optimised configuration did not improve classification over equal loss weights: it raised kidney Dice to 0.9081 and reduced the violation rate approximately fivefold, while diagnosis AUC fell to 0.8753. This is consistent with the fitness function, which placed half its weight on the two segmentation terms; the search traded classification for segmentation exactly as instructed.

This is reported as a negative result for the optimisation framing rather than presenting the winning optimiser as a contribution. It also bears on prior work: absent a matched-budget comparison, an improvement attributed to a particular metaheuristic is difficult to separate from the improvement any search of comparable budget would have produced.

5.10  QUALITATIVE RESULTS

Figure 5.4  Qualitative predictions on a held-out test case. Dashed contours denote expert annotation and filled regions denote model prediction

Figure 5.4 shows predictions on a held-out test case across successive model versions. The kidney boundary is recovered closely. Lesion predictions are correctly located but organically shaped, whereas the ground truth is rectangular by construction, which is the annotation limitation discussed in Section 3.2 and which causes reported lesion Dice to understate true localisation quality.

Figure 5.5  Receiver operating characteristic curve for healthy-versus-pathological classification

5.11  DISCUSSION

The central finding of this project is that the localisation advantage normally obtained by adopting a detection architecture can be partially recovered within a multi-task segmentation network at negligible parameter cost. Lesion-guided pooling adds 4,608 parameters and no new supervision, yet improves multi-label pathology recognition by 0.0271 AUC under cross-validation. The mechanism is available to any multi-task network that already segments the structure of interest.

A second observation deserves emphasis because it has implications beyond this project. The largest single improvement obtained was not architectural: seed ensembling lifted diagnosis AUC by 0.0395 over the single model, more than any design change tested. On a dataset of fewer than 2,000 images, variance reduction is a more effective lever than architectural refinement, and much of the published variation between methods at this scale may be seed variance rather than genuine method difference.

The multi-label task remains the weaker side of these results. Independently of the label-space caveat noted in Section 5.5, the reference architecture retains a genuine structural advantage: it classifies each detected region separately, whereas the pathology head here must represent an arbitrary number of findings of different types in a single pair of pooled vectors. Lesion-guided pooling narrows this gap but cannot close it, since one attention map cannot separate two lesions of different types in the same image.

CHAPTER 6

CONCLUSION AND FUTURE WORK

6.1  CONCLUSION

This project set out to obtain the classification accuracy associated with detection-based computer-aided diagnosis without adopting a detector architecture. A single-encoder multi-task network was developed that performs diagnosis, multi-label pathology recognition, kidney segmentation and lesion segmentation in one forward pass, and was evaluated on the public URI-CADS benchmark.

The objectives stated in Section 1.5 were met as follows:

The multi-task benefit was quantified under matched conditions: diagnosis AUC improves from 0.8436 single-task to 0.8995 multi-task, more than twice the measured noise floor.

Lesion-guided pooling was designed and validated, improving lesion-type AUC by 0.0271 under five-fold cross-validation and corroborated by an independent three-seed ablation.

An anatomical consistency constraint was formulated, found to fail in its obvious form, diagnosed, and corrected; the ratio formulation reduces the violation rate approximately fourfold.

Three metaheuristics were compared at matched budget and found indistinguishable, and the optimised configuration was shown to trade classification for segmentation in accordance with its fitness function.

A measurement protocol was established, quantifying the seed-induced noise floor so that reported improvements can be separated from random variation.

The final system reaches 0.8969 ± 0.0155 AUC for healthy-versus-pathological classification, exceeding the published benchmark of 0.8741 on the same dataset and protocol.

6.2  LIMITATIONS

The following limitations constrain the conclusions that may be drawn, and are stated explicitly rather than left implicit:

Coarse lesion annotation. The dataset provides bounding boxes rather than traced contours, so reported lesion Dice is a lower bound and cannot be improved without re-annotation.

Label-space mismatch. The lesion-type comparison against the benchmark is not measured on an identical label space, so the size of that gap cannot presently be stated with confidence.

No external validation. All results come from one public dataset. The system has not been evaluated on images from a different scanner, institution or patient population.

Unverified split integrity. Splits are applied per image. If the dataset contains multiple frames from the same patient, correlated frames could appear on both sides of a split; this could not be verified against patient identifiers.

Limited statistical power in ablations. Three seeds per configuration detects large effects only, so several components are reported as having no demonstrated effect rather than no effect.

No latency measurement. Parameter counts are reported but inference time on target hardware was not measured, so efficiency claims rest on model size and architectural simplicity.

6.3  FUTURE WORK

Several directions follow directly from the limitations above.

Evaluate lesion-type performance under the benchmark’s grouped taxonomy. This would resolve the comparability caveat and may also improve learning, since three of the nine current classes have too few positive examples to be learnable.

Validate on an external cohort. This is the prerequisite for any claim of clinical applicability.

Extend lesion-guided pooling to one attention map per pathology class, addressing the inability of a single map to separate two lesions of different types within the same image.

Replace the plain decoder with a skip-connected variant to sharpen segmentation boundaries.

Add a matched-budget random search baseline, placing the metaheuristic comparison on firmer methodological ground.

Measure inference latency on representative portable hardware to support the deployability argument with timing rather than parameter count.

REFERENCES

All references are presented in APA format and are listed alphabetically by first author surname.

Al-Salman, O., & Cevik, M. (2026). A functionally guided U-Net for chronic kidney disease assessment: Joint structural segmentation and eGFR prediction with a structure-function consistency loss. Electronics, 15(1), 176. https://doi.org/10.3390/electronics15010176

Anuar, D. A. S., Ibrahim, N., & Huong, A. (2026). MSE-guided hybrid U-Net framework for automatic kidney segmentation and spatial localization. International Journal of Advanced Computer Science and Applications, 17(6), 247-254.

Ates, G., Turk, F., Akcin, E. T., & Gungor, M. (2025). Decision-support for restorative dentistry: Hybrid optimization enhances detection on panoramic radiographs. Healthcare, 13(22), 2904. https://doi.org/10.3390/healthcare13222904

Bergstra, J., & Bengio, Y. (2012). Random search for hyper-parameter optimization. Journal of Machine Learning Research, 13, 281-305.

Buades, A., Coll, B., & Morel, J.-M. (2005). A non-local algorithm for image denoising. Proceedings of the IEEE Conference on Computer Vision and Pattern Recognition, 60-65.

Caruana, R. (1997). Multitask learning. Machine Learning, 28(1), 41-75.

Dehghani, M., Montazeri, Z., Trojovska, E., & Trojovsky, P. (2023). Coati optimization algorithm: A new bio-inspired metaheuristic algorithm for solving optimization problems. Knowledge-Based Systems, 259, 110011. https://doi.org/10.1016/j.knosys.2022.110011

He, K., Gkioxari, G., Dollar, P., & Girshick, R. (2017). Mask R-CNN. Proceedings of the IEEE International Conference on Computer Vision, 2961-2969.

He, K., Zhang, X., Ren, S., & Sun, J. (2016). Deep residual learning for image recognition. Proceedings of the IEEE Conference on Computer Vision and Pattern Recognition, 770-778.

Howard, A., Sandler, M., Chu, G., Chen, L.-C., Chen, B., Tan, M., Wang, W., Zhu, Y., Pang, R., Vasudevan, V., Le, Q. V., & Adam, H. (2019). Searching for MobileNetV3. Proceedings of the IEEE/CVF International Conference on Computer Vision, 1314-1324.

Hu, J., Shen, L., & Sun, G. (2018). Squeeze-and-excitation networks. Proceedings of the IEEE Conference on Computer Vision and Pattern Recognition, 7132-7141.

Ioffe, S., & Szegedy, C. (2015). Batch normalization: Accelerating deep network training by reducing internal covariate shift. Proceedings of the International Conference on Machine Learning, 448-456.

Kausar, F., & Ramamurthy, B. (2025). Optimized feature selection for kidney ultrasound image classification using binary coati weighted mean vector algorithm. Journal of Computer Science, 21(12), 2986-3004. https://doi.org/10.3844/jcssp.2025.2986.3004

Kingma, D. P., & Ba, J. (2015). Adam: A method for stochastic optimization. International Conference on Learning Representations.

Krishna, T. B., Poreddy, A. K. R., Sindhu, K. G., & Kokil, P. (2025). Automated maternal fetal ultrasound image identification using a hybrid vision transformer model. In Pattern Recognition (ICPR 2024), Lecture Notes in Computer Science (Vol. 15311, pp. 253-269). Springer Nature Switzerland. https://doi.org/10.1007/978-3-031-78195-7_17

Kuo, C.-C., Chang, C.-M., Liu, K.-T., Lin, W.-K., Chiang, H.-Y., Chung, C.-W., Ho, M.-R., Sun, P.-R., Yang, R.-L., & Chen, K.-T. (2019). Automation of the kidney function prediction and classification through ultrasound-based kidney imaging using deep learning. npj Digital Medicine, 2, 29. https://doi.org/10.1038/s41746-019-0104-2

Lakshminarayanan, B., Pritzel, A., & Blundell, C. (2017). Simple and scalable predictive uncertainty estimation using deep ensembles. Advances in Neural Information Processing Systems, 30.

Lin, T.-Y., Goyal, P., Girshick, R., He, K., & Dollar, P. (2017). Focal loss for dense object detection. Proceedings of the IEEE International Conference on Computer Vision, 2980-2988.

Ma, N., Zhang, X., Zheng, H.-T., & Sun, J. (2018). ShuffleNet V2: Practical guidelines for efficient CNN architecture design. Proceedings of the European Conference on Computer Vision, 116-131.

Micikevicius, P., Narang, S., Alben, J., Diamos, G., Elsen, E., Garcia, D., Ginsburg, B., Houston, M., Kuchaiev, O., Venkatesh, G., & Wu, H. (2018). Mixed precision training. International Conference on Learning Representations.

Milletari, F., Navab, N., & Ahmadi, S.-A. (2016). V-Net: Fully convolutional neural networks for volumetric medical image segmentation. Proceedings of the Fourth International Conference on 3D Vision, 565-571.

Mirjalili, S., & Lewis, A. (2016). The whale optimization algorithm. Advances in Engineering Software, 95, 51-67. https://doi.org/10.1016/j.advengsoft.2016.01.008

Mirjalili, S., Mirjalili, S. M., & Lewis, A. (2014). Grey wolf optimizer. Advances in Engineering Software, 69, 46-61. https://doi.org/10.1016/j.advengsoft.2013.12.007

Molina-Moreno, M., Gonzalez-Diaz, I., Rivera Gorrin, M., Burguera Vion, V., & Diaz-de-Maria, F. (2024). URI-CADS: A fully automated computer-aided diagnosis system for ultrasound renal imaging. Journal of Imaging Informatics in Medicine, 37(4), 1458-1474. https://doi.org/10.1007/s10278-024-01055-4

Paszke, A., Gross, S., Massa, F., Lerer, A., Bradbury, J., Chanan, G., Killeen, T., Lin, Z., Gimelshein, N., Antiga, L., Desmaison, A., Kopf, A., Yang, E., DeVito, Z., Raison, M., Tejani, A., Chilamkurthy, S., Steiner, B., Fang, L., Bai, J., & Chintala, S. (2019). PyTorch: An imperative style, high-performance deep learning library. Advances in Neural Information Processing Systems, 32.

Ren, S., He, K., Girshick, R., & Sun, J. (2015). Faster R-CNN: Towards real-time object detection with region proposal networks. Advances in Neural Information Processing Systems, 28.

Ronneberger, O., Fischer, P., & Brox, T. (2015). U-Net: Convolutional networks for biomedical image segmentation. Medical Image Computing and Computer-Assisted Intervention, 234-241.

Russakovsky, O., Deng, J., Su, H., Krause, J., Satheesh, S., Ma, S., Huang, Z., Karpathy, A., Khosla, A., Bernstein, M., Berg, A. C., & Fei-Fei, L. (2015). ImageNet large scale visual recognition challenge. International Journal of Computer Vision, 115(3), 211-252.

Selvaraju, R. R., Cogswell, M., Das, A., Vedantam, R., Parikh, D., & Batra, D. (2017). Grad-CAM: Visual explanations from deep networks via gradient-based localization. Proceedings of the IEEE International Conference on Computer Vision, 618-626.

Seraj, A., Monazami, S. P., Davoodi, R., Seraj, J., Ghattan Kashani, H., Sajjadian Moosavi, A., & Shariat Panahi, M. (2025). Deep learning framework for automated frame selection in kidney ultrasound. Scientific Reports, 15, 41940. https://doi.org/10.1038/s41598-025-25755-1

Shtaiyat, A., & Younes, H. A. (2024). Enhancing kidney outlines in 2D ultrasound images using deep learning. Journal of Medicinal and Chemical Sciences, 7(4), 909-921. https://doi.org/10.26655/JMCHEMSCI.2024.7.4

Tan, M., & Le, Q. V. (2019). EfficientNet: Rethinking model scaling for convolutional neural networks. Proceedings of the International Conference on Machine Learning, 6105-6114.

Zhang, Y., Hou, Y., Qiu, T., Zhuang, Y., Chen, K., Ling, W., Luo, Y., & Lin, J. (2025). Deep learning in renal ultrasound: Applications, challenges, and future outlook. Frontiers in Oncology, 15, 1730628. https://doi.org/10.3389/fonc.2025.1730628

Zhou, B., Khosla, A., Lapedriza, A., Oliva, A., & Torralba, A. (2016). Learning deep features for discriminative localization. Proceedings of the IEEE Conference on Computer Vision and Pattern Recognition, 2921-2929.

Zuiderveld, K. (1994). Contrast limited adaptive histogram equalization. In Graphics Gems IV (pp. 474-485). Academic Press.

Zuo, Y., Li, J., & Tian, J. (2025). A segmentation network with two distinct attention modules for the segmentation of multiple renal structures in ultrasound images. Diagnostics, 15(15), 1978. https://doi.org/10.3390/diagnostics15151978

APPENDICES

Appendix 1  Source Code Organisation

The complete implementation is organised into the modules listed in Table 4.4. <<INSERT REPOSITORY URL OR CODE LISTING HERE>>

Appendix 2  Additional Qualitative Results

Further held-out test cases are shown below. <<INSERT ADDITIONAL FIGURES IF REQUIRED>>

Appendix 3  Complete Per-Fold Results

Per-fold values underlying the cross-validated means reported in Table 5.3. <<INSERT PER-FOLD TABLE IF REQUIRED>>