## Slide 1
REVIEW - III
Optimization-Based Deep Learning Framework for Kidney Disease Detection and Segmentation from Ultrasound Images
PRESENTED BY
Anubhav Rawat (23BCE1471)
Kaustubh (23BCE1555)
GUIDE
Sudharson S
DATE
16 September 2026
Notes: Anubhav Rawat: Good morning, everyone. I'm Anubhav Rawat, and I'm presenting with Kaustubh. Our project, guided by Sudharson S, is an optimization-based deep learning framework for detecting and segmenting kidney disease in ultrasound images. At our last review we had finished five of our nine phases. Since then we have retrained every phase under matched conditions, completed the full metaheuristic optimization study, and run most of our ablation experiments. We'll show you all of it, including the results that did not go the way we expected, because those turned out to be some of our most useful findings.

## Slide 2
BACKGROUND
Benchmark System and the Gaps We Target
REFERENCE SYSTEM
URI-CADS (Molina-Cabello et al.)
Dual Mask R-CNN + Faster R-CNN
ResNet-50 backbone
Five-fold cross-validation on its own data
0.8741
AUC, healthy vs pathological
0.8190
AUC, multi-pathological
01
Unweighted loss sum
Task losses are added with equal weight; no tuned or learned weighting.
02
No optimized preprocessing
Standard augmentation only; image enhancement is never tuned.
03
No pixel-level lesion masks
Lesions exist only as bounding boxes, so lesion segmentation is not addressed.
04
Single-dataset validation
Cross-validation within one dataset; no external or cross-cohort test.
05
Compute cost not addressed
Two detection networks; deployability on point-of-care devices is not discussed.
Notes: Anubhav Rawat: Our reference point is URI-CADS, a public, peer-reviewed renal ultrasound benchmark, together with its published system. That system uses two heavy detection networks, a Mask R-CNN and a Faster R-CNN on a ResNet-50 backbone. It reports an AUC of 0.8741 for healthy versus pathological, and 0.8190 for multi-pathology, both using five-fold cross-validation. Reading their methodology closely, we confirmed five gaps. Their task losses are simply added with equal weight. Preprocessing is never tuned. Lesions are annotated only as bounding boxes, with no pixel masks. Validation stays within their own dataset. And the cost of running two detection networks is not discussed. Each of our contributions targets one of these gaps.

## Slide 3
CONTRIBUTIONS
Six Contributions, One Per Gap
01
EVALUATED
Optimized loss weighting
Six task-loss weights searched instead of fixed at 1.
02
EVALUATED
Optimized enhancement
CLAHE, denoising and gamma tuned jointly with the weights.
03
COMPLETE
Optimizer comparison
COA vs WOA vs GWO at an equal budget of 60 trainings each.
04
COMPLETE
Anatomical consistency
Penalizes lesion predictions outside the kidney; corrected ratio form.
05
COMPLETE
Lightweight architecture
One ResNet-34 encoder, five heads, 24.4 M parameters.
06
PENDING
Beyond a single split
Five-fold cross-validation and an external cohort test.
Notes: Anubhav Rawat: These are our six contributions. First, instead of equal loss weights, we search for the weights. Second, we tune the image enhancement parameters jointly with those weights. Third, we compare three metaheuristics, the Coati, Whale and Grey Wolf optimizers, under an equal budget. Fourth, an anatomical constraint that keeps lesion predictions inside the kidney. Fifth, a lightweight single-encoder design. And sixth, validation beyond a single split. The status labels are honest: the first five are implemented and evaluated, and the validation work is scripted but still to run.

## Slide 4
DATA
URI-CADS Renal Ultrasound Dataset
A public, peer-reviewed benchmark with pixel-level kidney masks and bounding-box lesion annotations.
Teal outline: pixel-level kidney mask Orange boxes: annotated lesion regions
1,985
annotated ultrasound images
450 / 1,535
healthy / pathological
9
local pathology categories, plus 2 global labels
1,389 / 298 / 298
train / validation / test
Notes: Anubhav Rawat: The dataset contains 1,985 ultrasound images: 450 healthy and 1,535 pathological. It is imbalanced toward disease, which is why our splits are stratified by diagnosis. Every image has a pixel-level kidney mask, shown here as the teal outline. Lesions are annotated as bounding boxes, shown in orange, across nine local pathology categories. We split the data 70, 15 and 15 percent into 1,389 training, 298 validation and 298 test images, with a fixed seed, so every phase sees exactly the same data.

## Slide 5
METHODOLOGY
End-to-End Framework
One shared encoder, five task heads, and an optimizer that tunes both the enhancement and the loss weights.
Ultrasound image
resized to 512 x 512
Enhancement
CLAHE, denoise, gamma
Shared encoder
ResNet-34, pretrained
Diagnosis healthy vs pathological
Global pathology PCD, HC
Local pathology 9 categories
Kidney segmentation pixel mask
Lesion segmentation coarse mask
Multi-task loss
L = sum of w_i x L_i, 6 terms
Metaheuristic optimizer: COA, WOA or GWO
proposes 10 parameters, trains a model, and receives its validation fitness in return
enhancement parameters
loss weights
Notes: Anubhav Rawat: This is the whole pipeline. An image is resized to 512 by 512 pixels and passed through an enhancement stage: contrast-limited adaptive histogram equalization, or CLAHE, then denoising, then gamma correction. A single ResNet-34 encoder extracts features, and all five task heads read that same feature map. Their losses are combined into one weighted multi-task loss. The bottom row is what makes the framework optimization-driven. A metaheuristic optimizer proposes the enhancement parameters and the six loss weights, a model is trained with them, and its validation performance is fed back to the optimizer as a fitness score.

## Slide 6
METHODOLOGY
Architecture: Five Heads on One Encoder
Head | Output | Loss | Phase
Diagnosis | 1 logit: healthy vs pathological | Binary cross-entropy | 2
Global pathology | 2 logits: PCD, HC (multi-label) | Binary cross-entropy | 2
Local pathology | 9 logits, one per lesion category | Binary cross-entropy | 4
Kidney segmentation | 512 x 512 mask, 5-stage upsampling decoder | Dice loss | 2
Lesion segmentation | 512 x 512 mask of the lesion-box union | Dice loss | 4
Anatomical consistency | Lesion probability outside the kidney | Ratio penalty | 5
No Mask R-CNN, Faster R-CNN or U-Net: every head reads the same encoder feature map.
Notes: Anubhav Rawat: Here are the five heads in detail. Three are classifiers trained with binary cross-entropy: the diagnosis head, the head for the two global pathologies, and the head for the nine local pathology categories. Two are segmentation decoders trained with Dice loss: one for the kidney, and one for lesions, where the target is the union of the annotated lesion boxes. On top of those sits the anatomical consistency term. We deliberately avoided Mask R-CNN and U-Net. The whole network has 24.4 million parameters and trained in 0.81 gigabytes of GPU memory. That is the evidence behind our lightweight claim.

## Slide 7
METHODOLOGY
Loss Design and the Anatomical Constraint
Multi-task objective
L = w1 L_diag + w2 L_global + w3 L_local
+ w4 L_kidney + w5 L_lesion + w6 L_anat
Phases 2 to 5: every w = 1, the unweighted sum used by URI-CADS
Phase 6: each w searched in [0.1, 5.0]
Classification heads: binary cross-entropy
Segmentation heads: Dice loss = 1 - 2|P ∩ G| / (|P| + |G|)
Notes: Anubhav Rawat: The training objective is a weighted sum of six losses. Through Phases 2 to 5 every weight is 1, which mirrors the URI-CADS design and gives us a fair baseline. In Phase 6, each weight is searched between 0.1 and 5. The right side needs a little care, because it became one of our key findings. Our first consistency loss penalized the absolute amount of lesion probability lying outside the kidney. But the quantity we report is the fraction of lesion probability outside the kidney. The absolute version can be lowered just by predicting less lesion everywhere, which leaves that fraction unchanged. The corrected ratio version can only be lowered by moving predictions inside the kidney. Kaustubh will show you what that difference did in practice.

## Slide 8
METHODOLOGY
Image Enhancement Layer
Notes: Anubhav Rawat: This slide shows the enhancement stage on two test images. The middle column uses the hand-picked settings from Phase 3, and the right column uses the settings the Coati optimizer found. There are four parameters. The CLAHE clip limit caps how much local contrast is amplified. The tile grid sets the size of the neighbourhood that contrast is computed over. The denoising strength controls non-local-means filtering. And gamma reshapes the brightness curve. Non-local-means denoising costs about 0.6 seconds per image, so for each configuration we compute the enhanced images once, across 12 CPU workers, and reuse them for every epoch.

## Slide 9
OPTIMIZATION DESIGN
How the Search Is Set Up
Fitness, maximized on the validation split
F = 0.30 AUC_diag + 0.15 AUC_local + 0.25 Dice_kidney + 0.25 Dice_lesion+ + 0.05 (1 - violation)
Share of fitness by objective
Chart: 
| Diagnosis AUC | Kidney Dice | Lesion Dice (lesion images) | Local pathology AUC | Consistency
Weight | 0.3 | 0.25 | 0.25 | 0.15 | 0.05
10 parameters
6 loss weights in [0.1, 5.0] and 4 enhancement settings, searched jointly
Equal budget
60 model trainings per optimizer, 180 in total, capped on trainings rather than iterations
Cheap evaluation
Each candidate trained 3 epochs at 256 x 256, about 2 minutes, then scored on validation
Common start
Same random seed, so all optimizers begin from the same 6 candidates; every result is cached
Notes: Anubhav Rawat: The optimizer searches ten parameters at once: six loss weights and four enhancement settings. Every candidate is scored with one fitness value on the validation set: 30 percent diagnosis AUC, 15 percent local pathology AUC, 25 percent each for kidney and lesion Dice, and 5 percent for anatomical consistency. We use lesion Dice on lesion-bearing images only, for a reason Kaustubh will explain shortly. Every candidate means training a model, so we scored each one after 3 epochs at 256 by 256 pixels, which takes about two minutes. To keep the comparison fair, each optimizer received exactly 60 trainings, and all three started from the same six random candidates. Every evaluation was also cached, so an interrupted run could resume without repeating work.

## Slide 10
OPTIMIZATION DESIGN
Three Metaheuristics Compared
COA
Coati Optimization Algorithm
Dehghani et al., 2023
Half the population moves toward the best solution, half toward a random point; then a local search with a radius that shrinks each iteration.
WOA
Whale Optimization Algorithm
Mirjalili and Lewis, 2016
Encircles the best solution, explores via random agents, and exploits with a spiral update; step size shrinks over time.
GWO
Grey Wolf Optimizer
Mirjalili et al., 2014
Moves every candidate toward the three best solutions so far (alpha, beta, delta); exploration shrinks linearly.
Sanity check on standard test functions (10 dimensions, 1,000 evaluations, mean of 5 seeds; lower is better)
Function | Landscape | COA | WOA | GWO
Sphere | Smooth, one optimum | 6.9e-7 | 3.6e-4 | 1.3e-9
Rastrigin | Many local optima | 25.0 | 44.0 | 37.6
GWO is strongest on smooth landscapes; COA is strongest on multimodal ones, which is closer to what a noisy hyperparameter search looks like.
Notes: Anubhav Rawat: The three optimizers search in different ways. The Coati algorithm splits its population: half moves toward the best solution and half toward a random point, and then it runs a local search whose radius shrinks every iteration. The Whale algorithm encircles the best solution and uses a spiral update. The Grey Wolf optimizer moves every candidate toward the three best solutions found so far. Before trusting them on the real problem, we checked all three on two standard test functions, with 1,000 evaluations each. Grey Wolf was best on the smooth sphere function, and Coati was best on Rastrigin, which is full of local optima. With that, I'll hand over to Kaustubh for the results.

## Slide 11
EXPERIMENTAL SETUP
Protocol and Reproducibility Check
Training protocol, identical for every phase
Split: 70 / 15 / 15, stratified by diagnosis, seed 42
Training: 15 epochs, batch 4, Adam, learning rate 1e-4
Mixed precision; best checkpoint chosen on validation Dice
Input: 512 x 512, normalized to [-1, 1]
Hardware: RTX 3050 Laptop GPU, 4 GB
Metrics. AUC: ranking quality, 0.5 is chance. Dice: overlap, 1 is perfect. Violation rate: share of lesion probability outside the kidney, lower is better.
Earlier checkpoints re-evaluated with the local implementation
Checkpoint | Metric | Original | Reproduced
Phase 2 | Diagnosis AUC | 0.9003 | 0.9001
Phase 2 | Kidney Dice | 0.8735 | 0.8733
Phase 3 | Diagnosis AUC | 0.8712 | 0.8707
Phase 4 | Local path. AUC | 0.7724 | 0.7723
Phase 5 | Violation rate | 0.3790 | 0.3786
Largest difference: 0.0024
The reimplementation matches the original, so earlier and new results are comparable.
Notes: Kaustubh: Thank you, Anubhav. Before we show any results, a word on how trustworthy they are. Every phase uses the same data split, the same seed, 15 epochs, the same batch size and learning rate, on the same GPU. We also moved the whole pipeline from Colab to local hardware, so the first thing we did was re-evaluate our earlier checkpoints with the new code. As the table shows, every metric reproduces within 0.0024. A quick note on the metrics we'll use. AUC measures how well the model ranks cases, where 0.5 is chance. Dice measures overlap with the ground truth, where 1 is perfect. And the violation rate is the share of predicted lesion probability that falls outside the kidney, so lower is better.

## Slide 12
RESULTS · EVALUATION
The Standard Lesion Dice Was Hiding Real Performance
Lesion Dice on the test set
Chart: 
| Model with no lesion head | Phase 4 multi-task model
All 298 test images | 0.31879 | 0.34445
Only the 203 lesion-bearing images | 5.2041e-10 | 0.50565
0.319 vs 0.344
all images: an empty prediction nearly matches the model
0.000 vs 0.506
lesion-bearing images: the gap is unmistakable
31.9% of test images contain no lesion; an empty prediction scores about 1 on each of them
We now report both versions of lesion Dice
The optimizer uses the lesion-bearing version, so it cannot be rewarded for predicting nothing
Notes: Kaustubh: This finding changed how we evaluate lesions. Our earlier lesion Dice was about 0.34, which looked weak. But a third of the test images contain no lesion, and on those images a correct empty prediction scores almost 1. To measure the effect, we evaluated a model with no lesion head at all, which predicts nothing anywhere. It scores 0.319, barely below our Phase 4 model's 0.344. Restricting to the 203 test images that actually contain a lesion separates them clearly: zero for the empty model, and 0.506 for ours. So the lesion decoder was working all along; the metric was hiding it. We now report both numbers, and the optimizer only ever sees the second one.

## Slide 13
RESULTS · PHASES 4 AND 5
The Anatomical Constraint Works Only in Ratio Form
Violation rate on the test set (lower is better)
Chart: 
| Phase 4 no constraint | Phase 5 absolute form | Phase 5b ratio form
Violation rate | 0.23313 | 0.2817 | 0.054334
-77% out-of-kidney lesion probability, Phase 4 to Phase 5b
Test metric | Phase 4 | Phase 5 | Phase 5b
Violation rate | 0.2331 | 0.2817 | 0.0543
Diagnosis AUC | 0.8995 | 0.8791 | 0.9014
Kidney Dice | 0.8928 | 0.8838 | 0.8954
Lesion Dice (lesion images) | 0.5056 | 0.4868 | 0.4881
The absolute form also raised violations on the original checkpoints (0.2572 to 0.3786), so the effect is reproducible.
Notes: Kaustubh: Here is what the change in formulation that Anubhav described actually did. Without any constraint, 23.3% of predicted lesion probability fell outside the kidney. Adding the original absolute-mass loss made it worse, 28.2%, the opposite of its purpose, and our earlier checkpoints showed the same thing. The corrected ratio loss cut it to 5.4%, a 77 percent reduction, while giving the best diagnosis AUC of any model, 0.9014. The cost is small: lesion Dice on lesion-bearing images went from 0.506 to 0.488, which is expected when annotated lesion boxes extend slightly past the kidney outline.

## Slide 14
RESULTS · PHASES 4 AND 5
How the Constraint Acts During Training
Validation violation rate by epoch (lower is better)
Chart: 
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
Phase 4: none | 0 | 0.10994 | 0.18369 | 0.29779 | 0.21871 | 0.30443 | 0.17621 | 0.34697 | 0.25202 | 0.27202 | 0.30002 | 0.2811 | 0.16959 | 0.25522 | 0.24881
Phase 5: absolute | 0 | 0 | 0.53761 | 0.70257 | 0.68654 | 0.64599 | 0.54821 | 0.51396 | 0.42718 | 0.40013 | 0.45764 | 0.3385 | 0.19713 | 0.27716 | 0.24822
Phase 5b: ratio | 0.043304 | 0.28531 | 0.27249 | 0.27041 | 0.23957 | 0.25577 | 0.24842 | 0.2811 | 0.19864 | 0.15991 | 0.13073 | 0.098697 | 0.081369 | 0.073113 | 0.0577
Validation lesion Dice on lesion-bearing images by epoch
Chart: 
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
Phase 4: none | 0.2099 | 0.31156 | 0.36781 | 0.38833 | 0.34567 | 0.46133 | 0.46287 | 0.49472 | 0.50716 | 0.53254 | 0.4826 | 0.52825 | 0.53992 | 0.54741 | 0.51129
Phase 5: absolute | 0.31232 | 0.37663 | 0.40777 | 0.40699 | 0.44822 | 0.44863 | 0.45366 | 0.48304 | 0.49904 | 0.50568 | 0.53013 | 0.52597 | 0.5383 | 0.53439 | 0.53725
Phase 5b: ratio | 0.21394 | 0.27521 | 0.36085 | 0.34694 | 0.41199 | 0.40273 | 0.39956 | 0.42167 | 0.42692 | 0.45696 | 0.47187 | 0.47123 | 0.49012 | 0.49611 | 0.53613
Reading the curves: the ratio form drives a steady decline in the second half of training and is still improving at epoch 15; lesion Dice rises similarly for all three.
Notes: Kaustubh: These curves show the effect is systematic across training rather than a lucky final epoch. On the left is the validation violation rate at every epoch. The original absolute form, in orange, spikes to about 0.70 at epoch 4 and only recovers to the unconstrained level by the end. The ratio form, in navy, holds around 0.25 for the first eight epochs and then falls steadily, reaching 0.058 at epoch 15, and it is still falling, which suggests longer training could reduce it further. On the right, lesion Dice on lesion-bearing images climbs along a similar path for all three models, which fits the small cost we saw on the previous slide.

## Slide 15
RESULTS · SUMMARY
All Configurations on the Same Test Set
Phase | Configuration | Diag. AUC | Global AUC | Local AUC | Kidney Dice | Lesion Dice (all) | Lesion Dice (lesion imgs) | Violation rate
2 | Equal weights, no enhancement | 0.9013 | 0.8038 | — | 0.8991 | — | — | —
3 | Hand-picked enhancement | 0.8903 | 0.7802 | — | 0.9021 | — | — | —
4 | Five heads, no constraint | 0.8995 | 0.8012 | 0.7704 | 0.8928 | 0.3444 | 0.5056 | 0.2331
5 | Constraint, absolute form | 0.8791 | 0.8004 | 0.7752 | 0.8838 | 0.3518 | 0.4868 | 0.2817
5b | Constraint, ratio form | 0.9014 | 0.7932 | 0.7416 | 0.8954 | 0.3325 | 0.4881 | 0.0543
6 | COA-optimized weights + enhancement | 0.8753 | 0.7255 | 0.7314 | 0.9081 | 0.2847 | 0.4180 | 0.0545
Notes: Kaustubh: This table brings all six configurations together on the same 298 test images, with the best value in each column in bold green. The corrected anatomical model, Phase 5b, has the lowest violation rate, and its diagnosis AUC of 0.9014 is effectively tied with the baseline's 0.9013. Phase 4 gives the best lesion Dice on lesion-bearing images, and the COA-optimized model gives the best kidney Dice. One important caveat. URI-CADS reports 0.8741 AUC under five-fold cross-validation, while these numbers come from a single split. Our 0.90 looks stronger, but the like-for-like comparison is Phase 8, which is next on our list.

## Slide 16
RESULTS · PHASE 6
What the Optimizers Chose
Loss weights found by each optimizer (baseline: all weights = 1.0)
Chart: 
| Diagnosis | Global path. | Local path. | Kidney seg. | Lesion seg. | Consistency
COA | 0.1 | 0.1 | 3.9756 | 3.0552 | 1.5444 | 4.1867
WOA | 0.34045 | 0.10798 | 4.3921 | 2.6511 | 2.0505 | 0.1
GWO | 2.8996 | 1.783 | 5 | 5 | 2.1037 | 1.1483
Enhancement parameters
 | Clip | Tile | Denoise | Gamma
Hand-picked | 2.00 | 8 | 10.0 | 1.20
COA | 3.40 | 13 | 0.7 | 0.76
WOA | 2.57 | 16 | 1.9 | 0.79
GWO | 5.00 | 10 | 9.3 | 0.54
All three: gamma below 1 and a larger tile grid than hand-picked
COA and WOA: denoising nearly off
COA and WOA: diagnosis weight near the 0.1 floor; GWO keeps it at 2.9
Pattern: the cheap search consistently favoured segmentation-heavy weightings, which matters for the next slide.
Notes: Kaustubh: What did the optimizers choose? All three raised the local pathology and kidney segmentation weights well above the baseline value of 1. Coati and Whale cut the diagnosis and global pathology weights to near the minimum of 0.1, while Grey Wolf kept diagnosis high, at 2.9. For enhancement, all three chose a gamma below 1 and a larger CLAHE tile grid than our hand-picked settings, and Coati and Whale almost switched denoising off. When three different algorithms converge on similar enhancement settings, that suggests those settings reflect a real signal rather than noise.

## Slide 17
RESULTS · PHASE 6
Does the Optimized Configuration Hold Up?
Full-fidelity test results (15 epochs, 512 x 512)
Chart: 
| Diagnosis AUC | Kidney Dice | Lesion Dice (lesion images) | 1 - violation rate
Equal weights (Phase 5b) | 0.90141 | 0.89541 | 0.4881 | 0.94567
COA-optimized (Phase 6) | 0.87526 | 0.90809 | 0.41797 | 0.94549
COA weights, no enhancement | 0.89508 | 0.91151 | 0.4239 | 0.92605
COA-optimized vs equal weights
+0.013 kidney Dice
-0.026 diagnosis AUC
-0.070 lesion Dice (lesion images)
Likely cause. Candidates were scored after 3 epochs at 256 x 256, when segmentation gains come fastest. COA pushed the diagnosis weight to the 0.1 floor, a choice that does not survive full training.
Notes: Kaustubh: The most important question is whether the optimized configuration holds up after full training. We retrained Coati's winner for 15 epochs at full resolution. Kidney Dice improved, from 0.895 to 0.908. But diagnosis AUC fell from 0.901 to 0.875, and lesion Dice on lesion-bearing images fell from 0.488 to 0.418. Keeping Coati's weights but removing enhancement shows the same lesion drop, so the weights are driving it, not the enhancement. Our explanation is that the search judged candidates after only 3 epochs, when segmentation improves fastest, so it learned to starve the classification heads. We report this as it is, because it tells us precisely how to fix the search.

## Slide 18
RESULTS · PHASE 7 ABLATIONS
Does Sharing One Encoder Help?
Each task trained alone vs inside the multi-task model (test set)
Chart: 
| Diagnosis AUC | Kidney Dice | Lesion Dice (lesion images)
Single-task model | 0.84361 | 0.91616 | 0.49598
Multi-task model (Phase 5b) | 0.90141 | 0.89541 | 0.4881
Effect of multi-task sharing
+0.058 diagnosis AUC with sharing
-0.021 kidney Dice with sharing
-0.008 lesion Dice with sharing
Sharing mainly strengthens classification
Segmentation is marginally better trained alone
One network replaces three single-task models
Single seed: gaps of about 0.01 need Phase 8 confirmation
Notes: Kaustubh: The single-task ablation asks whether sharing one encoder actually helps. Each single-task model was trained with exactly one loss term active, under identical conditions. For diagnosis the answer is clearly yes: trained alone it reaches 0.844 AUC, and in the multi-task model 0.901. For segmentation, not really. The kidney-only model reaches 0.916 Dice against 0.895, and the lesion-only model 0.496 against 0.488. So the multi-task design mainly strengthens classification, and one network replaces three at a small segmentation cost. These are single runs, so the small segmentation gaps still need to be confirmed with cross-validation.

## Slide 19
RESULTS · LOCAL PATHOLOGY
Per-Category Performance and Its Limits
Local pathology AUC by category (number of test images with that category in brackets)
Chart: 
| 1 (9) | 2 (97) | 3 (10) | 4 (21) | 5 (4) | 6 (2) | 7 (65) | 8 (22) | 9 (11)
Phase 4 | 0.76201 | 0.80015 | 0.91285 | 0.82826 | 0.6216 | 0.77872 | 0.94701 | 0.69277 | 0.59012
Phase 5b | 0.74664 | 0.82025 | 0.85347 | 0.7638 | 0.59864 | 0.95777 | 0.9134 | 0.59527 | 0.4254
How to read this
AUC 0.5 is chance level
Common categories 2 and 7 (97 and 65 test images) are strong
Categories 8 and 9 are weakest
Categories 5 and 6 have 4 and 2 test images: their AUCs are not reliable
Report per-category counts alongside the mean
Notes: Kaustubh: Breaking local pathology down by category shows where the model is reliable, and where the numbers cannot be trusted. The two most common categories, 2 and 7, with 97 and 65 test images, reach AUCs of about 0.80 to 0.95. Categories 8 and 9 are the weakest, with category 9 near or below chance. The counts under each category label matter. Categories 5 and 6 have only 4 and 2 test images, so their very high AUCs are not meaningful. For the paper, we will report per-category results with these counts shown, rather than relying on the mean alone.

## Slide 20
STATUS
Where the Project Stands
PHASE 1
COMPLETE
Data pipeline
Ingestion, masks, lesion parsing, stratified split
PHASE 2
COMPLETE
Fixed-weight baseline
Diagnosis AUC 0.901, kidney Dice 0.899
PHASE 3
COMPLETE
Hand-picked enhancement
Rerun at matched 15 epochs
PHASE 4
COMPLETE
Five-head multi-task model
Lesion and local pathology heads added
PHASE 5
COMPLETE
Anatomical consistency
Absolute form diagnosed; ratio form validated
PHASE 6
COMPLETE
Metaheuristic optimization
COA, WOA, GWO; 180 trainings; full retrain
PHASE 7
IN PROGRESS
Ablations
To check which component of the system is actually responsible for the improvement.
PHASE 8
PLANNED
Cross-validation and external test
Five-fold scripts ready; proxy check ready
PHASE 9
PLANNED
Write-up
Paper draft from results document
6 of 9 phases complete · Phase 7 in progress · 2 phases remaining
Notes: Kaustubh: In terms of status, six of our nine phases are complete. Phase 7 is in progress, with four of its five ablation runs done. Phase 8, which is cross-validation and external validation, is fully scripted and ready to run. And Phase 9 is the write-up.

## Slide 21
CONCLUSION
Where We Stand
One lightweight network (24.4 M parameters) reaches diagnosis AUC 0.901, kidney Dice 0.895 and lesion Dice 0.488 on lesion-bearing images
A correctly formulated anatomical constraint cuts out-of-kidney lesion predictions by 77% without hurting diagnosis
The optimizer study is complete and fair: COA leads, but the search setup matters as much as the algorithm
Cross-validation and proxy validation are scripted and ready to run.
Thank you.
Notes: Anubhav Rawat: To conclude. One lightweight network gives strong diagnosis, accurate kidney segmentation and real lesion localization. A correctly formulated anatomical constraint cuts out-of-kidney lesion predictions by 77 percent without hurting diagnosis. The optimizer study is complete and fair, and it showed us that the search setup matters as much as the algorithm. And the remaining work is already scripted and ready to run. Thank you. We're happy to take your questions.