## Slide 1
Optimization-Based Deep Learning Framework for Kidney Disease Detection and Segmentation from Ultrasound Images
REVIEW - III
Optimization Results, Ablations, and Where the Project Stands
Project By:
Anubhav Rawat (23BCE1471)
Kaustubh (23BCE1555)
Guide: Sudharson S
16 September 2026

## Slide 2
Benchmark System and the Gaps We Target
Reference system: URI-CADS (Molina-Cabello et al.)
Dual Mask R-CNN + Faster R-CNN, ResNet-50 backbone.
Five-fold cross-validation on its own data.
AUC 0.8741 (healthy vs pathological), 0.8190 (multi-pathological).
Five gaps we target
Unweighted loss sum — task losses added with equal weight; nothing tuned or learned.
No optimized preprocessing — standard augmentation only; image enhancement never tuned.
No pixel-level lesion masks — lesions exist only as bounding boxes.
Single-dataset validation — no external or cross-cohort test.
Compute cost not addressed — two heavy detection networks; deployability undiscussed.
Metric | URI-CADS
AUC, healthy vs pathological | 0.8741
AUC, multi-pathological | 0.8190
Validation protocol | 5-fold CV, single dataset
Each of our six contributions (next slide) targets exactly one of these five gaps.
2

## Slide 3
Six Contributions, One Per Gap
# | Contribution | What it does | Status
1 | Optimized loss weighting | Six task-loss weights searched instead of fixed at 1. | Evaluated
2 | Optimized enhancement | CLAHE, denoising and gamma tuned jointly with the weights. | Evaluated
3 | Optimizer comparison | COA vs WOA vs GWO at an equal budget of 60 trainings each. | Complete
4 | Anatomical consistency | Penalizes lesion predictions outside the kidney; corrected ratio form. | Complete
5 | Lightweight architecture | One ResNet-34 encoder, five heads, 24.4M parameters. | Complete
6 | Beyond a single split | Five-fold cross-validation and an external cohort test. | Pending
3

## Slide 4
URI-CADS Renal Ultrasound Dataset
A public, peer-reviewed benchmark with pixel-level kidney masks and bounding-box lesion annotations.
1,985
annotated ultrasound images
450 / 1,535
healthy / pathological
9
local pathology categories, plus 2 global labels
1,389/298/298
train / validation / test
Split 70/15/15, stratified by diagnosis, with a fixed seed so every phase sees exactly the same data.
4

## Slide 5
End-to-End Framework
One shared encoder, five task heads, and an optimizer that tunes both the enhancement and the loss weights.
Metaheuristic optimizer: COA, WOA or GWO
Proposes 10 parameters (enhancement + loss weights), trains a model, and receives its validation fitness in return.
5

## Slide 6
Architecture: Five Heads on One Encoder
Head | Output | Loss | Phase
Diagnosis | 1 logit: healthy vs pathological | Binary cross-entropy | 2
Global pathology | 2 logits: PCD, HC (multi-label) | Binary cross-entropy | 2
Local pathology | 9 logits, one per lesion category | Binary cross-entropy | 4
Kidney segmentation | 512x512 mask, 5-stage upsampling decoder | Dice loss | 2
Lesion segmentation | 512x512 mask of the lesion-box union | Dice loss | 4
Anatomical consistency | Lesion probability outside the kidney | Ratio penalty | 5
No Mask R-CNN, Faster R-CNN or U-Net: every head reads the same encoder feature map.
24.4 million parameters total; trains in 0.81 GB of GPU memory — the evidence behind the lightweight claim.
6

## Slide 7
Loss Design and the Anatomical Constraint
Multi-task objective
L = w1·L_diag + w2·L_global + w3·L_local + w4·L_kidney + w5·L_lesion + w6·L_anat
Phases 2–5: every weight w = 1, the unweighted sum used by URI-CADS (fair baseline).
Phase 6: each weight searched in [0.1, 5.0].
Classification heads use binary cross-entropy; segmentation heads use Dice loss = 1 − 2|P∩G| / (|P|+|G|).
The anatomical-consistency fix
First version penalized the absolute amount of lesion probability outside the kidney — lowerable just by predicting less lesion everywhere.
Corrected version penalizes the fraction (ratio) of lesion probability outside the kidney — can only improve by moving predictions inside the kidney.
7

## Slide 8
Image Enhancement Layer
Four parameters: CLAHE clip limit, tile grid size, non-local-means denoising strength, and gamma.
Enhanced images are computed once per configuration across 12 CPU workers and reused for every epoch (denoising costs ~0.6s/image).
8

## Slide 9
How the Search Is Set Up
10 parameters
6 loss weights in [0.1, 5.0] and 4 enhancement settings, searched jointly.
Equal budget
60 model trainings per optimizer, 180 in total — capped on trainings rather than iterations.
Cheap evaluation
Each candidate trained 3 epochs at 256x256 (~2 minutes), then scored on validation.
Common start
Same random seed: all optimizers begin from the same 6 candidates; every result cached.
Fitness (maximized on validation)
F = 0.30·AUC_diag + 0.15·AUC_local + 0.25·Dice_kidney + 0.25·Dice_lesion+ + 0.05·(1−violation)
Chart: 
| Diagnosis AUC | Kidney Dice | Lesion Dice | Local path. AUC | Consistency
Share of fitness | 0.3 | 0.25 | 0.25 | 0.15 | 0.05
9

## Slide 10
Three Metaheuristics Compared
COA
Coati Optimization Algorithm
Half the population moves toward the best solution, half toward a random point; then a local search with a radius that shrinks each iteration.
WOA
Whale Optimization Algorithm
Encircles the best solution, explores via random agents, and exploits with a spiral update, step size shrinks over time.
GWO
Grey Wolf Optimizer
Moves every candidate toward the three best solutions so far (alpha, beta, delta); exploration shrinks linearly.
Function | Landscape | COA | WOA | GWO
Sphere | Smooth, one optimum | 6.9e-7 | 3.6e-4 | 1.3e-9
Rastrigin | Many local optima | 25.0 | 44.0 | 37.6
10

## Slide 11
Protocol and Reproducibility Check
Training protocol, identical for every phase
Split 70/15/15, stratified by diagnosis, seed 42.
15 epochs, batch 4, Adam, learning rate 1e-4.
Mixed precision; best checkpoint chosen on validation Dice.
Input 512x512, normalized to [-1, 1].
Hardware: RTX 3050 Laptop GPU, 4GB.
Earlier checkpoints re-evaluated with the local implementation
Checkpoint | Metric | Orig. | New
Phase 2 | Diagnosis AUC | 0.9003 | 0.9001
Phase 2 | Kidney Dice | 0.8735 | 0.8733
Phase 3 | Diagnosis AUC | 0.8712 | 0.8707
Phase 4 | Local path. AUC | 0.7724 | 0.7723
Phase 5 | Violation rate | 0.3790 | 0.3786
Metrics used throughout:
AUC - ranking quality, 0.5 is chance. Dice - overlap, 1 is perfect. Violation rate - share of lesion probability outside the kidney, lower is better.
11

## Slide 12
The Standard Lesion Dice Was Hiding Real Performance
Lesion Dice on the test set
Chart: 
| Model with no lesion head | Phase 4 multi-task model
All 298 test images | 0.3188 | 0.3444
Only the 203 lesion-bearing images | 0 | 0.5056
31.9% of test images contain no lesion; an empty prediction scores about 1 on each of them.
Restricting to lesion-bearing images separates the models clearly: 0.000 vs 0.506.
We now report both versions of lesion Dice.
The optimizer uses the lesion-bearing version only, so it cannot be rewarded for predicting nothing.
12

## Slide 13
The Anatomical Constraint Works Only in Ratio Form
Violation rate on the test set (lower is better)
Chart: 
| Phase 4 no constraint | Phase 5 absolute form | Phase 5b ratio form
Violation rate | 0.2331 | 0.2817 | 0.0543
Test metric | P4 | P5 | P5b
Violation rate | 0.233 | 0.282 | 0.054
Diagnosis AUC | 0.900 | 0.879 | 0.901
Kidney Dice | 0.893 | 0.884 | 0.895
Lesion Dice (lesion imgs) | 0.506 | 0.487 | 0.488
13

## Slide 14
How the Constraint Acts During Training
Validation violation rate by epoch (lower is better)
Chart: 
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
Phase 4: none | 0 | 0.1099 | 0.1837 | 0.2978 | 0.2187 | 0.3044 | 0.1762 | 0.347 | 0.252 | 0.272 | 0.3 | 0.2811 | 0.1696 | 0.2552 | 0.2488
Phase 5: absolute | 0 | 0 | 0.5376 | 0.7026 | 0.6865 | 0.646 | 0.5482 | 0.514 | 0.4272 | 0.4001 | 0.4576 | 0.3385 | 0.1971 | 0.2772 | 0.2482
Phase 5b: ratio | 0.0433 | 0.2853 | 0.2725 | 0.2704 | 0.2396 | 0.2558 | 0.2484 | 0.2811 | 0.1986 | 0.1599 | 0.1307 | 0.0987 | 0.0814 | 0.0731 | 0.0577
Validation lesion Dice on lesion-bearing images by epoch
Chart: 
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
Phase 4: none | 0.2099 | 0.3116 | 0.3678 | 0.3883 | 0.3457 | 0.4613 | 0.4629 | 0.4947 | 0.5072 | 0.5325 | 0.4826 | 0.5283 | 0.5399 | 0.5474 | 0.5113
Phase 5: absolute | 0.3123 | 0.3766 | 0.4078 | 0.407 | 0.4482 | 0.4486 | 0.4537 | 0.483 | 0.499 | 0.5057 | 0.5301 | 0.526 | 0.5383 | 0.5344 | 0.5373
Phase 5b: ratio | 0.2139 | 0.2752 | 0.3608 | 0.3469 | 0.412 | 0.4027 | 0.3996 | 0.4217 | 0.4269 | 0.457 | 0.4719 | 0.4712 | 0.4901 | 0.4961 | 0.5361
The absolute form (amber) spikes to ~0.70 at epoch 4 and only recovers to the unconstrained level by the end.
The ratio form (navy) holds around 0.25 for the first eight epochs, then falls steadily to 0.058 at epoch 15 — still falling.
Lesion Dice on lesion-bearing images climbs along a similar path for all three, matching the small cost seen on the previous slide.
14

## Slide 15
All Configurations on the Same Test Set
Ph. | Configuration | Diag. AUC | Global AUC | Local AUC | Kidney Dice | Lesion Dice (all) | Lesion Dice (lesion imgs) | Viol. rate
2 | Equal weights, no enhancement | 0.9013 | 0.8038 | — | 0.8991 | — | — | —
3 | Hand-picked enhancement | 0.8903 | 0.7802 | — | 0.9021 | — | — | —
4 | Five heads, no constraint | 0.8995 | 0.8012 | 0.7704 | 0.8928 | 0.3444 | 0.5056 | 0.2331
5 | Constraint, absolute form | 0.8791 | 0.8004 | 0.7752 | 0.8838 | 0.3518 | 0.4868 | 0.2817
5b | Constraint, ratio form | 0.9014 | 0.7932 | 0.7416 | 0.8954 | 0.3325 | 0.4881 | 0.0543
6 | COA-optimized weights + enhancement | 0.8753 | 0.7255 | 0.7314 | 0.9081 | 0.2847 | 0.4180 | 0.0545
15

## Slide 16
What the Optimizers Chose
Loss weights found by each optimizer (baseline: all weights = 1.0)
Chart: 
| Diagnosis | Global path. | Local path. | Kidney seg. | Lesion seg. | Consistency
COA | 0.1 | 0.1 | 3.976 | 3.055 | 1.544 | 4.187
WOA | 0.34 | 0.108 | 4.392 | 2.651 | 2.051 | 0.1
GWO | 2.9 | 1.783 | 5 | 5 | 2.104 | 1.148
Enhancement parameters chosen
 | Clip | Tile | Denoise | Gamma
Manual | 2.00 | 8 | 10.0 | 1.20
COA | 3.40 | 13 | 0.7 | 0.76
WOA | 2.57 | 16 | 1.9 | 0.79
GWO | 5.00 | 10 | 9.3 | 0.54
All three: gamma below 1 and a larger tile grid than hand-picked.
COA and WOA: denoising nearly off.
COA and WOA: diagnosis weight near the 0.1 floor; GWO keeps it at 2.9.
16

## Slide 17
Does the Optimized Configuration Hold Up?
Full-fidelity test results (15 epochs, 512x512) — COA-optimized vs equal weights
Chart: 
| Diagnosis AUC | Kidney Dice | Lesion Dice (lesion imgs) | 1 − violation rate
Equal weights (Phase 5b) | 0.9014 | 0.8954 | 0.4881 | 0.9457
COA-optimized (Phase 6) | 0.8753 | 0.9081 | 0.418 | 0.9455
COA weights, no enhancement | 0.8951 | 0.9115 | 0.4239 | 0.926
+0.013 kidney Dice
−0.026 diagnosis AUC
−0.070 lesion Dice (lesion images)
17

## Slide 18
Per-Category Performance and Its Limits
Local pathology AUC by category (test images with that category shown in labels)
Chart: 
| 1 (9) | 2 (97) | 3 (10) | 4 (21) | 5 (4) | 6 (2) | 7 (65) | 8 (22) | 9 (11)
Phase 4 | 0.762 | 0.8001 | 0.9128 | 0.8283 | 0.6216 | 0.7787 | 0.947 | 0.6928 | 0.5901
Phase 5b | 0.7466 | 0.8203 | 0.8535 | 0.7638 | 0.5986 | 0.9578 | 0.9134 | 0.5953 | 0.4254
How to read this
AUC 0.5 is chance level.
Common categories 2 and 7 (97 and 65 test images) are strong.
Categories 8 and 9 are weakest.
Categories 5 and 6 have only 4 and 2 test images — their AUCs are not reliable.
We report per-category counts alongside the mean.
19